## Article 1 §15100
Title 27 Division 1, Subdivision 4, Chapter 1, Part 1, Article 1
§15100
Subsection | Proposed Amendment | Necessity and Purpose
(a) | Capitalized "division and chapter" | Throughout the ISOR, Division, Chapter, and Section are capitalized, if not already, for consistency. Additionally, all outline changes are made for consistency.
(a)(1) | Capitalized "division and chapter" | Changed for consistency.
| Replaced "generally supplemented by" with "and" | California Code of Regulations, tit. 22, div. 4.5 does not generally supplement the HSC, but is the regulation that supports the statute. HSC and CCR combined are the standards that govern program compliance. Therefore, the change is being made to clarify that both the statute and regulation must be complied with.
| Spelled out title and division. Capitalized division | Changed for consistency
| Removed Parentheses from (generally supplemented by California Code of Regulations (CCR), tit. 22, div. 4.5) | Removed parentheses as they are not needed.
(a)(2) | Capitalized division and chapter | Changed for consistency.
(a)(3) | Capitalized division and chapter | Changed for consistency.
| Replaced "generally supplemented by" with "and" | California Code of Regulations, title 23, Chapters 16 and 17 do not generally supplement the HSC, but are the regulations that support the statute. HSC and CCR combined are the standards that govern program compliance. Therefore, the change is being made to clarify that both the statute and regulations must be complied with.
| Removed Parentheses from (generally supplemented by CCR, tit. 23, chs. 16 and 17) | Removed parentheses as they are not needed.
| Removed tit. 23 and added 23 to before CCR | Changed for consistency.
| Changed "chs." to "Chapters" | Changed for consistency.
(a)(4) | Capitalized "division, chapter and article" | Changed for consistency.
| Replaced "generally supplemented by" with "and" | California Code of Regulations, title 19, §§ 2620-2734 do not generally supplement the HSC, but are the regulations that support the statute. HSC and CCR combined are the standards that govern program compliance. Therefore, the change is being made to clarify that both the statute and regulations must be complied with.
| Removed Parentheses from (generally supplemented by CCR, tit. 19, §§ 2620-2734) | Removed parentheses as they are not needed.
| Removed "tit. 19" and added "19" to before CCR | Changed for consistency.
| Removed "§§ 2620-2734" and replaced with "Division 2, Chapter 4" | §§ 2620-2734 are found in 19 CCR Division 2, Chapter 4. Changed for consistency.
(a)(5) | Capitalized "division, chapter and Article" | Changed for consistency.
| Replaced "generally supplemented by" with "and" | California Code of Regulations, title 19, §§ 2735.1-2785.1 do not generally supplement the HSC, but are the regulations that support the statute. HSC and CCR combined are the standards that govern program compliance. Therefore, the change is being made to clarify that both the statute and regulation must be complied with.
| Removed Parentheses from (generally supplemented by CCR, tit. 19, §§ 2735.1-2785.1) | Removed parentheses as they are not needed.
| Removed "tit. 19" and added "19" to before CCR | Changed for consistency.
| Removed "§§ 2620-2734" and replaced with "Division 2, Chapter 4.5" | §§ 2620-2734 are found in 19 CCR Division 2, Chapter 4.5. Changed for consistency.
(a)(6) | Changed "California Fire Code" to "California Code of Regulations, Title 24, Part 9 (California Fire Code) adopted pursuant to HSC section 13143.9, concerning HMMP/HMIS requirements" | Identifies 24 CCR Part 9 as the California Fire Code. Clarifies that the California Fire Code is enforced by the UPAs only in regards to the HMMP/HMIS requirements.
| Added "When required, HMMP and HMIS will comply with HSC Division 20, Chapter 6.95, Article 1, and 19 CCR Division 2, Chapter 4." | HMMP and HMIS must meet the statutory and reglatory requirements found in the business plan requirements. Added for clarification.
| Added "(HMMP)" after "Hazardous Materials Management Plans" | Placed acronym after the core phrase. Changed for consistency
| Changed "Plans" to "Plan" | There is only one HMMP, not more than one. Changed to reflect the unique requirement of a HMMP.
| Deleted "HMMP" | HMMP was moved to after the core words. Not necessary to be place here. Redundant.
(b) | Added "responsibilities of the" to after "The" | Identifies that this section will identify the responsibilities of the Secretary, Unified Program State Agencies, and Unified Program Agencies. Changed for clarification.
| Added "Unified Program" in front of "state agency" | Identifies that this section is applicable to state agencies with Unified Program responsibilities. Changed for clarification.
| Deleted "Certified" | Both CUPAs and PAs are required to implement the programs identified in regulation. CUPAs and PAs collectively are known as the Unified Program Agency (UPA). Removing Certified changes the requirement from a CUPA to the UPA. Changed for clarification.
| Changed "agency" to "agencies" | There are more than one Unified Program state agency. Additionally, there are more than one Unified Program Agency. Changed to reflect there are more than just one agency involved. Changed for clarification.
| Changed "(CUPA)" to "(UPAs)" | The Certified Unified Program Agencies and the Participating Agencies are collectively known as the Unified Program Agency. The implementing agency is the Unified Program Agency. Changed for clarification.
| Deleted "responsibilities" | Moved to beginning of subsection (b).
| Added "implementation of the" | Identifies that the agencies and UPAs are required to implement the Unified Program. Changed for clarification.
| Deleted "elements" | Agencies and UPAs implement the Unified Program not simply Unified Program elements. Changed for clarification.
(b)(1)(C) | Deleted "Governor's Office of Emergency Services (Cal OES)," | CalOES no longer oversees any program element of the Unified Program. All Unified Program responsibilities have been given to CalEPA with the passage of AB 148 (Chapter 115, statutes of 2021). No longer relevent.
| Add "O" to the acronym for Office of the State Fire Marshal (SFM) | Acronym should be OSFM
(b)(1)(H) | Changed "25404(E)" to "25404(e)" | Subsection (e) was inadvertenly capitalized. It should be a lower case letter to conform with HSC.
(b)(2) | Deleted "The" and added "Unified Program" | Identifies Unified Program state agencies responsibilities and not any state agency. Changed for clarification.
| Moved "with Unified Program responsibilities will establish and interpret statewide standards for those Unified Program elements for which they" to new subsection (b)(2)(D) | Moved from this subsection heading and will be placed as a new subsection (b)(2)(D). This new subsection will identify which state agency is responsible for interpreting statewide standards for each Program element under their authority.
| Added "for" after "responsible" | Identifies that the Unfiied Program state agencies are responsible for certain items. Changed for clarification.
(b)(2)(A) | Moved from (b)(2)(E)(i) | Moved to place the state agency responsibilities at the beginning of the subsection to identify what they are required to develop in order to properly develop statewide standards for each Program Element under their authority. Moved for clarification.
(b)(2)(B) | Moved from (b)(2)(E)(ii) | Moved to place the state agency responsibilities at the beginning of the subsection to identify what they are required to develop in order to properly develop statewide standards for each Program Element under their authority. Moved for clarification.
(b)(2)(C) | Moved from (b)(2)(E)(iii) | Moved to place the state agency responsibilities at the beginning of the subsection to identify what they are required to develop in order to properly develop statewide standards for each Program Element under their authority. Moved for clarification.
(b)(2)(D) | Moved from (b)(2) | This new subsection will identify which state agency is responsible for interpreting statewide standards for each Program element under their authority.
(b)(2)(A) | Changed to (b)(2)(D)(i) | Changed for outline consistency
| Changed "Cal OES" to "CalEPA" | CalOES no longer oversees any program element of the Unified Program. All responsibilities have been given to CalEPA with the passage of AB 148 (Chapter 115, statutes of 2021). Changed to conforme with AB 148
(b)(2)(B) | Changed to (b)(2)(D)(ii) | Changed for outline consistency
| Added "O" to SFM | Acronym should be OSFM
| Deleted "pursuant to HSC section 25270.4.1(a) and the California Fire Code sections, as adopted pursuant to HSC section 13143.9, concerning" | Statutory and regulatory requirements are identified in subsections (a)(2) and (a)(6). Redundant.
(b)(2)(B)(i) | Deleted | When moving (b)(2)(B)(i)(c) to Article 5, Section 15185 as subsection (h), there is no longer any overlap concerns. This paragraph is no longer needed.
(b)(2)(B)(i)(a) | Deleted | When moving (b)(2)(B)(i)(c) to Article 5, Section 15185 as subsection (h), there is no longer any overlap concerns. This paragraph is no longer needed.
(b)(2)(B)(i)(b) | Deleted | When moving (b)(2)(B)(i)(c) to Article 5, Section 15185 as subsection (h), there is no longer any overlap concerns. This paragraph is no longer needed.
(b)(2)(B)(i)(c) | Moved to Article 5 Section 15185 as subsection (h) | Requirement for CUPA to provide access to information is not solely a requirement under APSA, but applies to all program elements. Article 5 is titled Information, Collection, Retention, and Management. As such, the access to information requirements should be found here.
(b)(2)(C) | Changed to (b)(2)(D)(iii) | Changed for consistency.
(b)(2)(C)(i) | Changed to (b)(2)(D)(iii)a. | Changed for consistency.
| Deleted "are clarified as follows" and added "in" before CUPA | The entire purpose of (C)(i) is to clarifiy. Redundant
| Changed CUPA to UPA | PAs could have responsibility overlaps, not just CUPAs
(b)(2)(C)(i)(a) | Changed to (b)(2)(D)(iii)a.1. | Changed for outline consistency
| Changed "A CUPA" to "An UPA" | PAs may also oversee abatements of unauthorized releases of hazardous substancess from USTs. Changed for clarification.
| Capitalized section | Changed for consistency
(b)(2)(D) | Changed to (b)(2)(D)(iv) | Changed for outline consistency
| Added "tiers" | Added to clarify each treatment activity is part of a tiered approach
| Capitalized section | Changed for consistency.
(b)(2)(D)(i) | Changed to (b)(2)(D)(iv)a. | Changed for consistency.
| Changed "CUPA" to "UPA" | PAs may also have the same responsibilities as a CUPA, therefore UPA is the correct description. Changed for clarification.
| Changed "Onsite Hazardous Waste Treatment" to "PBR, CA, and CE tiers" | Changed the writing of the program element to the acroynym identified in (b)(2)(D)(iv)
(b)(2)(D)(i)(a) | Changed to (b)(2)(D)(iv)a.1. | Changed for consistency.
| Changed "CUPA" to "UPA" | PAs may also have the same responsibilities as a CUPA, therefore UPA is the correct description. Changed for clarification.
(b)(2)(D)(i)(b) | Changed to (b)(2)(D)(iv)a.2. | Changed for outline consistency.
| Changed "CUPA" to "UPA" | PAs may also have the same responsibilities as a CUPA, therefore UPA is the correct description. Changed for clarification.
(b)(2)(D)(i)(c) | Changed to (b)(2)(D)(iv)a.3. | Changed for outline consistency.
| Changed "CUPA" to "UPA" | PAs may also have the same responsibilities as a CUPA, therefore UPA is the correct description. Changed for clarification.
(b)(2)(D)(i)(c)1. | Changed to (b)(2)(D)(iv)a.3.A. | Changed for outline consistency
| Deleted "Cal. Code Regs., tit." and added "CCR" after 22 | Changed for consistency.
(b)(2)(D)(i)(c)2. | Changed to (b)(2)(D)(iv)a.3.B. | Changed for outline consistency
(b)(2)(D)(i)(d) | Changed to (b)(2)(D)(iv)a.4. | Changed for outline consistency.
| Changed "CUPA" to "UPA" | PAs may also have the same responsibilities as a CUPA, therefore UPA is the correct description. Changed for clarification.
| Capitalized section | Changed for consistency.
(b)(2)(D)(i)(e) | Changed to (b)(2)(D)(iv)a.5. | Changed for outline consistency.
| Changed "manifest" to "manifests" and removed "documents". | Hazardous Waste Manifests are documents. Redundant.
(b)(2)(D)(i)(f) | Changed to (b)(2)(D)(iv)a.6. | Changed for outline consistency.
(b)(2)(D)(i)(g) | Changed to (b)(2)(D)(iv)a.7. | Changed for outline consistency.
(b)(2)(D)(i)(h) | Changed to (b)(2)(D)(iv)a.8. | Changed for outline consistency.
(b)(2)(D)(i)(i) | Changed to (b)(2)(D)(iv)a.9. | Changed for outline consistency.
| Deleted "and the U.S. Environmental Protection Agency (U.S. EPA)." | Implies that title 27 tasks U.S. EPA with issuing ID numbers. Change made to remove implication.
| Changed "EPA" to "U. S. Evironmental Protection Agency and California identification" | DTSC issues California ID numbers. DTSC also issues USEPA ID numbers for USEPA in California. Change identifies that DTSC assigns both numbers. Changed for clarification.
(b)(2)(D)(i)(j) | Changed to (b)(2)(D)(iv)a.10. | Changed for outline consistency.
| Deleted "title" and moved "22" to before CCR | Changed for consistency.
(b)(2)(D)(i)(k) | Changed to (b)(2)(D)(iv)a.11. | Changed for outline consistency.
| Added "to the maximum extent feasible" | DTSC will not notify and coordinate with the appropriate CUPA if there is a chance of compromise of ongoing investigation and enforcement of facilities. Change added to clarify that not all DTSC investigations will be shared with the UPA.
| Capitalized "section" | Changed for consistency.
(b)(2)(E) | Moved to (b)(2)(A), (B), and (C). | Moved to place the state agency responsibilities at the beginning of the subsection to identify what they are required to develop in order to properly develop statewide standards for each Program Element under their authority. Moved for clarification.
(b)(3) | Capitalized "chapter" | Changed for consistency.
| Added "Unified" | UPAs are responsible for implementing each applicable Unified Program element, not simply the program element.
| Capitalized "program" | Changed for consistency

## Article 2 §15110
Title 27 Division 1, Subdivision 4, Chapter 1, Part 1, Article 2
§15110
Subsection | Proposed Amendment | Necessity and Purpose
(a) | Added "Certified Unified Program Agency" | Defines what the acronym CUPA means. Added for clarification.
| Added Parentheses around CUPA | CUPA is the acronym for Certified Unified Program Agency. The convention is to place acronyms in parentheses when it is first identified.
(b) | Deleted "all" | Not necessary
| Replaced "collected" with "reported" | Data is reported by regulated businesses and Unified Program Agencies to CERS.
| Added Unified Program Agencies | Defines what the acronym UPAs means. Added for clarification.
| Added Parentheses around UPAs | UPA is the acronym for Unified Program Agency. The convention is to place acronyms in parentheses when it is first identified.
| deleted "reported by" | Replaced collected with reported making this Redundant
| Capitalized chapter | Changed for consistency.
(c) | Capitalized chapter | Changed for consistency.
(d) | Replaced "Collection" with "Reporting" | Regulated businesses and UPAs report data to CERS. This data is maintained in CERS. Data is reported, not collected. Changed for clarification.
(d)(1) | Replaced "collected" with "reported" | Data is reported by regulated businesses and Unified Program Agencies to CERS. Changed for clarification.
| Replaced "the Unified Program Data Dictionary" with "27 CCR, Division 3, Subdivision 1. Data Dictionary for Regulated Activities" | Change made to identify where the Data Dictionary can be found. Additionally, the correct formal name is Data Dictionary for Regulated Activities. Changed for clarification.
(d)(2) | Added "to CERS" after submitted | Identifies where the data is to be submitted. Added for clarification.
(d)(3) | Deleted "Unified Program" and added "for Regulated Activities". | Correct name for the data dictionary is Data Dictionary for Regulated Activities. Changed to the correct name.
| Changed "other" to "another" | Other implies that an option was provided while another allows an UPA to find and used a different approved format. Provides UPAs with additional options.
(d)(5) | Deleted "as one or more submittal elements as defined in the Unified Program Data Dicionary." | Exchange of data is required regardless of whether it is a single submittal element or more than one. Not necessary.
| Replaced "CalEPA" with "CERS" | Electronic Data Transfer is done between UPAs and CERS, not CalEPA. Changes the requirement to identify the correct process.
| Added "CERS" before "Data Exchange Technical Specification". | The Data Exhange Technical Specification is developed by CalEPA. Adding CERS identifies which Data Exchange Technical Specification is to be used..
(d)(6) | Rewrote definition of Data Exchange Technical Specification | Rewrote definition in order to make it more understandable for non-IT people. Changed for clarification and comprehension.
(e)(1) | Added "towards the regulated business" | Identifies who the action is brought against. Changed for clarification.
| Added "for the regulated business" | Identifies who is required to comply with any formal enforcement action. Changed for clarification.
(e)(2) | Changed "and" to "that" | The notification establishes the action to be met in order to comply with the informal Enforcement procedure. Changed for clarification.
| Added ", but are not limited to" | Change made because there are more than just the identified Informal Enforcement Actions available. Gives UPAs, while not distinctly identified, more options for informal enforcement.
(f)(1) | Replaced "a regularly scheduled" with "on-site" | Inspections in general are not scheduled, but are unnannounced. Clarifies that inspecitons are on site and not scheduled. Changed for clarification.
| added "per the frequency identified in section 15200(a)(2) or by the UPA in the Inspection and Enforcement (I&E) Plan." | Identifies in the regulation where the inspection frequency requirements are found. Also identifies this information is found in the UPAs I&E Plan.Clarifies the inspection frequency.
(f)(2) | Moved last sentence to new subsection (f)(3). | Moved because the sentence identifies what is not an inspection. Separates inspections from non-inspections for clarification.
(f)(3) | Added new subsection. | Last sentence of subsection (f)(2) was moved to this new subsection. Moved because the sentence identifies what is not an inspection. Clarifies what is not considered an Other inspection.
| Deleted "It does not include routine inspections or" from beginning of sentence and added "are not considered inspections" at the end of the sentence | Change identifies activities that may be conducted, but would not be considered inspections. Changed for clarification.
| Changed "principle" to "sole" | Identifies that if the visits only purpose is to perform any of the actions identified in (f)(3), then it is not considered an inspection. Principle implies that there may be more than one action planned during the visit. Changed for clarification
| Deleted "verification of administrative information" | This would be considered either a routine or other inspection, depending on the circumstances. Removed as it is considered an inspection.
(g) | Added "electronically" | Identifies that data is to be collected, retained and managed electronically. Changed for consistency
(h) | Changed "CUPA" to "UPA". | Both CUPAs and PAs can use the Local Reporting Portal, so UPA is the correct acronym to use. Changed for clarification.
| Changed "a" to "an" | Changing CUPA to UPA necessitates this change. The convention is to use an when the next word begins with a vowel. Changed for consistency.
(i) | Deleted "a" before program | Letter not necessary. Makes the sentence confusing.
| Added "Uniform" to before "program" and deleted "as part of the Unified Program" | Adding "Unified" to before program and deleting "as part of the Unified Program" has the same meaning using less words. Changed for clairification.
| Capitalized program | Changed for consistency.
(j) | Capitalized "chapter" and "section" | Changed for consistency.
| Added "to the Unified Program" after incorporated | Identifies that the requirements must be incoporated into the Unified Program to be applicable. Simply adopting new requirements does not mean they are Unified Program elements. Changed for clarification.
(k) | Added new subsection | New subsection (k) due to definition of Progressive Enforcement is alphabetically here. Previously, the term was Graduated Series of Enforcement which was not defined in regulation, but Progressive Enforcement more accurately describes the process. Moved here for clarification and consistency.
(k) | Changed (k) to (l) | Changed for consistency.
(k)(1)(A) | Capitalized "section" | Changed for consistency.
(k)(1)(B) | Capitalized "section" | Changed for consistency.
(k)(1)(C) | Deleted "title" and moved "19" to before CCR | Changed for consistency.
| Changed "2650" to "2621" | Change without regulatory effect renumnbering section 2650 to new section 2621 filed 5-11-2016 pursuant to section 100, title 1, California Code of Regulations (Register 2016, No. 20). Change made to conform with regulatory renumbering.
| Capitalized "section" | Changed for consistency.
(k)(1)(D) | Changed "(m)" to "(f)" | Identifies the correct definition of person. Changed for clarification.
| Capitalized "section" | Changed for consistency.
(k)(1)(E) | Capitalized "section" | Changed for consistency.
(k)(1)(F) | Capitalized "chapter" and "section" | Changed for consistency.
(k)(2) | Capitalized "section" | Changed for consistency.
(k)(3) | Capitalized "section" | Changed for consistency.
(k)(4) | Capitalized "section" | Changed for consistency.
(k)(5) | Capitalized "section" | Changed for consistency.
(k)(6) | Deleted "title" and moved "19" to before CCR | Changed for consistency.
| Changed "(xx)" to "(rrr)" | Incorrect citatation. Changed to the correct citation for the definition definition of Stationary Source.
| Capitalized "section" | Changed for consistency.
(l) | Changed to (m) | Changed for consistency.
| Capitalized "section" | Changed for consistency.
(m) | Changed to (n) | Changed for consistency.
| Changed "of" to "for" | Changed for consistency.
| Changed "into" to "to" | Changed for consistency.
| Changed "carrying" to "carry" | Changed for consistency.
| Added "of Unified Program Implementation" | Identifies which responsibilities the state agencies are required to implement. Changed for clarification.
| Capitalized "section" | Changed for consistency.
(n) | Changed to (o) | Changed for consistency.
(o) | Changed to (p) | Changed for consistency.
| Added "UPFCs are no longer used with the implementation of CERS on January 1, 2013." | Unified Program Consolidated Forms are no longer used with the advent of CERS. Definition kept for historical purposes.
(p) | Changed to (q) | Changed for consistency.
| Deleted "Unified Program" and added "for Regulated Activities". | Correct name for the data dictionary is Data Dictionary for Regulated Activities. Changed to the correct name.
| Deleted "collected, retained, and managed by an" and added "and managed" after reported. | Regulated businesses and UPAs manage their data. Changed for clarification
| Added "regulated" to before "business". | The correct terminology is regulated business, not simply business per (l) above.
(p)(1) | Added "and 6" after 1-4. | With the addition of APSA reporting requirements, Chapter 6 was added to the Data Dictionary. Added to include the reporting requirements of Chapter 6.
| Deleted "to UPAs". | Information is reported to CERS. Changed for clarification.
(p)(2) | Added "information reported by" | Identifies who is reporting. Changed for clarification.
| Changed "CUPA" to "UPA". Pluralized UPA | UPAs report this information. UPAs include CUPAs and PAs. UPAs is the more correct descriptor. Changed for clarification.
| Deleted "to State reporting of CUPA activities or other information that shall be collected and retained by a CUPA and reported pursuant to section 15290. | Adding "information reported by" makes this statement redundant. Changed for clarification.
(q) | Changed to (r) | Changed for consistency.
| Added "consolidated" before "permits". | Identifies that the permits are consolidated. Changed for clarification.
| Moved all information after the first sentence to Article 5, section 15190(e)(1) and (2). | The specifics of the UPFP UPFP are better identified in section 15190(e)(1) and (2) rather than in the definition of a UPFP
Reference | Deleted "the" | Word is not necessary. Removed for consistency.

## Article 3 §§15120-15150
Title 27 Division 1, Subdivision 4, Chapter 1, Part 1, Article 3
§15120
Subsection | Proposed Amendment | Necessity and Purpose
(b) | Capitalized section | Changed for consistency
(c) | Capitalized "section" | Changed for consistency
(e) | Deleted "shall" | Shall also is written after the comment that a city or local agency can apply to be a CUPA. Redundant and not needed
| Capitalized "section" | Changed for consistency
(f) | Capitalized "section" | Changed for consistency
(g) | Capitalized "article" | Changed for consistency
§15130
Subsection | Proposed Amendment | Necessity and Purpose
(a) | Capitalized "section" | Changed for consistency
(b) | Capitalized "section" | Changed for consistency
§15150
Subsection | Proposed Amendment | Necessity and Purpose
(a)(3) | Delete "use" | Not necessary. The purpose of the appendices is to use them. Redundant.
(c)(2) | Capitalized "chapter" | Changed for consistency.
(d) | Added 'final written" before "agreements" | Clarifies that all agreements must be written. Changed for clarification.
| Added "written" after "draft" | Clarifies that all agreements must be written. Changed for clarification.
(d)(1) | Deleted "The agreements section shall include draft or final agreements between the applicant agency and all proposed PAs." | This is clarified in (d) above. Redundant.
| Added "written" before "agreements" | Clarifies that all agreements must be written. Changed for clarification.
(d)(1)(A) | Added "billing and collection of" | Further identifies the surcharge is billed and collected by this agency. Changed for clarification.
| Added "state" before "surcharge" | Identifies that the surcharge is a state surcharge. Changed for clarification.
| Pluralized "surcharge" | There are five state surcharges. Changed for clarification.
(d)(1)(B) | Added "The written agreement shall" | Identifies any agreement must be written. Added for clarification.
| Changed "Include" to lower case | Include no longer starts the sentence, so the word should be lower case. Changed for consistency
| Added "Section" prior to 15180(e)(6) | Identifies that 15180(e)(6) is a section of Title 27. Changed for clarification
(e) | Added "following" after "the" | Identifies that there will be a list of items that must be satisfied. Changed for clarification.
| Deleted "of Appendix A" | Appendix A requirements are addressed later in the regulation. Redundant.
(e)(1) | Replaced "A cover sheet. Use Appendix A and complete" with "An application completeness checklist with" | More clearly defines the requirements of the cover sheet. Changed for clarification.
| Added "completed" | Identifies that all the information in Appendix A must be provided. Changed for clarification.
| Added "(Appendix A)". | Identifies where the completeness checklist can be found. Changed for clarification.
(e)(4) | Added parenthesis before Appendix and after 1 | Shows where the document for the information can be found. Changed for clarification.
| Deleted "Use to provide this information. | The table is found in Article 9, Appendix B, Table 1 which must be completed. Redundant.
(e)(6)(B) | Capitalized "section" | Changed for consistency.
(e)(6)(C) | Added "A Single Fee System Implementation Plan that provides" | Added to this section in order to repeal (f) which is also addressed in this subsection. Combines two section for clarification.
| Changed "For" to lower case | "For" no longer starts the sentence, so the word should be lower case. Changed for consistency
| Replaced "this" with "The Single Fee System Implementation Plan shall be implemented upon certification and" | Added to this section in order to repeal (f)(1) which is also addressed in this subsection. Combines two section for clarification.
(e)(6)(C)(i) | Moved from (f)(2) | New subsection replaces (f)(2). Moved for clarification.
(e)(6)(C)(i) | Changed to (e)(6)(C)(ii) | Changed for consistency.
(e)(6)(C)(ii) | Changed to (e)(6)(C)(iii) | Changed for consistency.
(e)(6)(C)(iii) | Changed to (e)(6)(C)(iv) | Changed for consistency.
(e)(6)(C)(iv) | Changed to (e)(6)(C)(v) | Changed for consistency.
(e)(7) | Deleted "expertise" | The title of Section 15260 changed and "expertise" was removed. Changed for consistencey
| Capitalized "section" | Changed for consistency.
| Added (Appendix B, Table 4) | Identifies the form used to complete the required information and also includes where the form can be found. Change for clarification.
| Deleted "and 15270". | Section 15270 is repealed. Changed for consistency.
(e)(7(A) | Deleted | Incorporated into (e)(7)
(e)(7)(B) | Deleted | Incorporated into (e)(7)
(e)(8) | Capitalized "section" | Changed for consistency.
| Deleted "Use Appendix B" | There is no requirement to use Appendix B. Changed for clarity.
(e)(9) | Capitalized "section" | Changed for consistency.
(e)(10) | Capitalized "section" | Changed for consistency.
(e)(11) | Deleted "of the" and moved "HSC" to before section | Changed for consistency.
| Capitalized "section" | Changed for consistency.
(e)(12) | Capitalized "section" | Changed for consistency.
(e)(13) | Capitalized "section" | Changed for consistency.
| Added (Appendix B, Table 3) | Identifies the form used to complete the required information and also includes where the form can be found. Change for clarification.
| Deleted "Appendix B will be used to certify adequate resources exist. | Adding Appendix B, Table 3 identifies both the form to be used and where to find it. Redundant.
(e)(14) | Capitalized "article" | Changed for consistency.
(e)(15) | Replaced Appendix B, Table 2 may be used to provide this information" with "(Appendix B, Table 2)". | Identifies the form used to complete the required information and also includes where the form can be found. Change for clarification.
(e )(17) | Deleted "in the" | The words have no logical purpose here. Changed for consistency.
| Deleted "title 22" and added 22 before CCR | Changed for consistency.
| Capitalized "section" | Changed for consistency.
(f) | Delete | Moved to (e)(6)(C)
(f)(1) | Delete | Moved to (e)(6)(C)
(f)(2) | Delete | Moved to (e)(6)(C)(i)
(f)(3) | Changed to (f) | Changed for consistency.
| Capitalized "Single Fee System" | Changed for consistency.
| Added "Implementation Plan" | The Single Fee System Implementation Plan is identified and defined in (e)(6)(C). Changed for clarification.
(f)(3)(A) | Changed to (f)(1) | Changed for consistency.
(f)(3)(B) | Changed to (f)(2) | Changed for consistency.

## Article 4 §§15160-15170
Title 27 Division 1, Subdivision 4, Chapter 1, Part 1, Article 4
§15160
Subsection | Proposed Amendment | Necessity and Purpose
(a)(1) | Added "by the Secretary" after "reviewed". | Identifies who will be reviewing the application. Changed for clarification.
| Replaced "Such" with "The" | Sentence is more logical using "the" instead of "such". Changed for clarificatin
| Added "review" after "90-day". | Identifies that the review of the application is what is performed during the 90-day period. Changed for clarification.
(b)(1) | Capitalized "section" | Changed for consistency.
| Replaced "Director of the Office of Emergency Services (Cal OES)" with "Assistant Secretary for Local Program Coordination and Emergency response" | CalOES no longer oversees any program element of the Unified Program. All responsibilities have been given to CalEPA with the passage of AB 148 (Chapter 115, statutes of 2021). No longer relevent.
(d)(1)(A) | Added new subsection. | Subsection (d)(1) concerns the Secretary's decision to approve or disapprove an application for certification. Currently, disapproval of an application is the first option addressed. Adding this new subsection makes the approved NOI decision the first option, which has no additional steps, other than a written notification. Disapproval of an application requires additional steps that must be made. Changed for clarification.
(d)(1)(A) | Changed to (d)(1)(B) | Changed for consistency.
| Changed "Unified Program" to "application". | This Article concerns the deficiances in an application to become a CUPA. It is not used to identify program deficiencies in established CUPAs. This is done in Article 8. Change made to identify the application as not sufficient.
(d)(1)(B)(i) | Moved from (f)(1) | Moved to place the appeal processes into one area. Also clarifies what should be addressed in the appeal to influence the Secretary's decision to not approve the application. Changed to provide clarification.
(d)(1)(B)(ii) | Moved from (f)(3) | Moved to place the appeal processes into one area. Changed for clarification.
(d)(1)(B)(iii) | Moved from (f)(4) | Moved to place the appeal processes into one area. Changed for clarification.
(d)(1)(B) | Moved to (d)(1)(A) | Moved the approved NOI to the beginning of the section.
(d)(2) | Deleted "periodic review of the Unified Program or". | Article 4 concerns entities applying to be a CUPA. Any reference to withdraw certification for established CUPAs, will be addressed in Article 8, Section 15330(d). Not applicable to this section.
| Replaced "Unified Program or the Unified Program Implementation" with "amended application". | Article 4 concerns entities applying to be a CUPA. Any reference to withdraw certification for established CUPAs, will be addressed in Article 8, Section 15330(d). Not applicable to this section.
| Added "final" before NOI | The final NOI is issued if an application still does not meet the regulatory requirements. Added to identify this is the only chance to correct an application.
| Changed "withdraw certification" with "amended application". | Article 4 concerns entities applying to be a CUPA. Any reference to withdraw certification for established CUPAs, will be addressed in Article 8, Section 15330(d). Not applicable to this section.
| Replaced "Unified Program" with "amended application". | Article 4 concerns entities applying to be a CUPA. Any reference to withdraw certification for established CUPAs, will be addressed in Article 8, Section 15330(d). Not applicable to this section.
| Added "still" before "deficient" | Identifies that the amended application was not approved because deficiencies identified in the initial review have not been corrected. Clarifies that the applicant has not corrected identified deficiencies.
(e)(1) | Added "to approve the application for certification" after "decision". | Paragraph 1 is the approval of an application in the same manner as (d)(1). Changed for consistency.
| Deleted "except as provided in section 15160(f)" | The requirement for an appeal is not required if the Notice of Intent (NOI) plans to approve the ageny applying to become a CUPA
(e)(2) | Changed to (e)(1)(A) | Changed for consistency.
| Deleted "the" | Changed for consistency.
| Deleted "title" and moved "22" to replace "the" | Changed for consistency.
| Capitalized division | Changed for consistency.
| Capitalized section | Changed for consistency.
| Capitalized chapter | Changed for consistency.
| Deleted "of the" and moved HSC to before Chapter | Changed for consistency.
(e)(2) | Added new subsection. | Adds the requirement that the Secretary must disapprove the application for certification in writing within 30 days of the initial NOI or the final NOI after the appeal process has been completed. Added for clarification.
(f) | Deleted subsection | Sections were moved to subsections (d) and (e) with the exception of (f)(2).
(f)(2) | Deleted subsection | Article 4 concerns entities applying to be a CUPA and withdrawal of a certification for established CUPAs, which is discussed in Article 8, Section 15330(d). Therefore, this section was deleted.
§15170
Subsection | Proposed Amendment | Necessity and Purpose
(a)(1) | Capitalized "section" | Changed for consistency.
| Changed "sections" to "section" | Section 15270 was deleted from Article 5. This makes the only applicable section 15260.
| Deleted "expertise" | The title of Section 15260 changed and "expertise" was removed. Changed for consistencey
| Deleted "and 15270" | Section 15270 is repealed. Deleted because it is no longer necessary.
(a)(2)(C) | Added ", which" | Clarifies that the time allocations must be computed on a full-time equivalent basis. Changed for clarification.
(a)(2)(C)(vi) | Deleted "Technical staff or contractors" | There is no necessity to identify who will be supporting Unified Program electronic reporting mandates, only that the time allocation has been determined. Allows UPAs more options on who will be doing this function.
(a)(5) | Capitalized "section" | Changed for consistency.
(a)(6) | Deleted "title" and moved "22" to before "CCR" | Changed for consistency.
| Capitalized "section" | Changed for consistency.
(a)(9) | Deleted "title" and moved "27" to before "CCR" | Changed for consistency.
| Capitalized "section" | Changed for consistency.
(a)(9)(A) | Capitalized "section" | Changed for consistency.
(a)(11)(A) | Capitalized "section" | Changed for consistency.
(a)(11)(B) | Deleted "and experience" | Technical Expertise was removed from the requirements of section 15260. Technical Expertise is another way of defining Experience.
| Added "and" between "education" and "training" | Experience was removed from the requirements of section 15260. Technicl Expertise is another way of defining Experience. Because experience was removed, "and" needed to be placed between education and training for grammatical correctness.
| deleted "and 15270" | Section 15270 is repealed
| Changed "sections" to "section" | Section 15270 was deleted from Article 5. This makes the only applicable section 15260.
| Capitalized "section" | Changed for consistency.
(a)(11)(C) | Capitalized "section" | Changed for consistency.
(a)(12) | Capitalized "section" | Changed for consistency.

## Article 5 §§15180-15270
Title 27 Division 1, Subdivision 4, Chapter 1, Part 1, Article 5
§15180
Subsection | Proposed Amendment | Necessity and Purpose
(a) | Changed "A CUPA" to "An UPA" | CUPAs and PAs, collectively known as UPAs, are required to implement the Unified Program. This change adds PAs to the implementation requirement
| Capitalized "section" | Changed for consistency.
(b) | Changed "A CUPA" to "An UPA" | CUPAs and PAs, collectively known as UPAs, are required to maintain certification through the administration of the Unified Program. This change adds PAs to the certification requirement.
(c) | Capitalized "section" | Changed for consistency.
(d) | Capitalized "section" | Changed for consistency.
| Deleted "or 25533(f)" | Section does not exist.
| Deleted "and" | Changed for consistency.
| Added "and Article 5" | There were additional sections that while a part of 27 CCR Article 5, adding article 5 makes it more clear where the sections may be found.
(e)(1)(B) | Changed "any" to "the" | Changed the requirement for public hearings to be coordinated, consolidated, and consistent for Unified Program issues regardless of element. Shows the requirement is applicable to the Unified Program, not Unified Program elements.
| Deleted "element" | Changed the requirement for public hearings to be coordinated, consolidated, and consistent for Unified Program issues regardless of element. Shows the requirement is applicable to the Unified Program, not Unified Program elements.
(e)(1)(C) | Changed "any" to "the" | Changed the requirement for public notices to be coordinated, consolidated, and consistent for Unified Program issues regardless of element. Shows the requirement is applicable to the Unified Program, not Unified Program elements.
| Deleted "element" | Changed the requirement for public notices to be coordinated, consolidated, and consistent for Unified Program issues regardless of element. Shows the requirement is applicable to the Unified Program, not Unified Program elements.
(e)(2) | Moved to section 15185(f). | This section concerns the management of collected information and the process for handling. It does not concern the implementation of the Unified Program. Moved to appropriate section of Article 5.
(e)(3) | Changed to (e)(2) | Changed for consistency.
| Deleted "with a legal right to access the information". | The statement is not necessary. Government agencies have a legal right to access information, just as the public has a legal right to access through the Public Records Act requirements. Changed for clarification.
| Replaced "to prevent the release" to "for the handling" | Responsibilities as they apply to confidential and trade secret information is more detailed than simply preventing the release of the information. The CUPA should have procedures to protect confidential and trade secret information, until such time that the information can be released. Changed for clarification.
(e)(4) | Changed to (e)(3) | Changed for consistency.
| Added "access to" before HMRRP information and "in CERS" after HMRRP information. | Before CERS, HMRRP information was in the form of paper documents. With the creation of CERS, all HMRRP informaion is now electronically stored. By giving access to CERS, emergency response personnel now have the ability to retrieve information they may need to perform their duties.
| Added "on a 24-hour basis" | Access to CERS is required to be available to emergency responders on a 24-hour basis. Adding this to the subsection clarifies this requirement.
| Moved "and other appropriate government agencies" to (e)(3)(A) | Moved to this subsection to separated emergency responders from other government agencies a requirement to access HMRRP information. Thes other government agencies are not emergency responders, but may have a requirement to protect the public health and safety and the environment.
(e)(3)(A) | Moved from (e)(4) | Identifies that appropriate agencies may have access to HMRRP information as applicable. Made it's own paragraph for clairificaion.
(e)(5) | Chnaged to (e)(4) | Changed for consistency.
(e)(4)(A) | Added new (b) to 15210 | Adding (b) to the subsection identifies the required elements in a single fee system. Makes clear what is required to establish a single fee system.
| Capitalized "section" | Changed for consistency.
(e)(4)(B) | Added new (a) to 15220 | Adding (a) to the subsection identifies the required elements in a Fee Acountability program. Makes clear what is required to establish a fee accountability program.
| Capitalized "section" | Changed for consistency.
(e)(4)(C) | Replaced "reimbursement" with "remittance". | The correct term is remittance. CUPAs receive surcharge money from regulated businesses, and remits it to the Secretary. Reimbursement implies the CUPA is returning money loaned to it by the Secretary, which is incorrect.
| Added new (b)(1)(D) to 15210 | Adding (b)(1)(D) to the subsection identifies the requirement to develop surcharge collection and remittance procedures. Makes clear what is required to establish a surcharge collection and remittance program.
| Capitalized "section" | Changed for consistency.
(e)(6) | Changed to (e)(5) | Changed for consistency.
| Added "if applicable" after "PA" | As written, the subsection implies a CUPA will have a PA. Adding if applicable, identifies that this requirement only applies to those CUPAs who have PAs.
(e)(5)(B) | Changed "causes" to "cause(s)" | Change made because while in most cases there will be more than one cause for PA removal, there is still a possibility there is only one cause. Changed for clarification.
(e)(7) | Changed to (e)(6) | Changed for consistency.
| Deleted "that include:" and added "in compliance with section 15185(e).". | Identifies the required elements for developing data management procedures. Makes clear what is required to establish data management procedures. "That include:" was deleted because subsections (A), (B), and (C) have been deleted. (A), (B), and (C) are separate sections found in Article 5 and are not required in this subsection.
| Moved (e)(6)(A), (B), and (C) to section 15185(e). | New subsection (e) will require UPAs to develop and implement data management procedures.
(e)(7) | Added new subsection | Requires the UPA to develop procedures for issuing a Unified Program Facility Permit in accordance with Section 15190(b). Added for clarification.
§15185
Subsection | Proposed Amendment | Necessity and Purpose
(a) | Changed "CUPA" to "UPA" | CUPAs and PAs, which make up the UPA, are required to collect, retain, and manage information as necessary. Changed for clarification.
| Added "information specified in" | To identify that the information has to include the information specified in 27 CCR. Changed for clarification.
| Deleted "all data specified in the" | This is redundant as the Data Dictionary has data/information requirements.
| Deleted "also" | Does not add anything to the requirement. Not necessary
(b) | Moved to (g) | Moved to a more appropriate place in the section. Changed for Clarification.
(c) | Moved to (d) | Moved to a more appropriate place in the section. Changed for Clarification.
(d) | Changed to (b) | Changed for consistency.
| Changed "CUPA" to "UPA" | CUPAs and PAs, which make up the UPA, are required to collect, retain, and manage information as necessary. Changed for clarification.
| Changed "submittal" to "submittals" | UPAs are required to process all submittals to CERS or the local reporting portal. Changed for clarification.
| Deleted "elements" | Submissions to CERS are made by regulated businesses in submittal elements. UPAs do not review submittal elements, but the entire submittal. Deleted for consistency.
| Replaced "within their jurisdiction that include the relevent data elements as specified in the Data Dictionary" with "to CERS or the local reporting portal, as applicable to their authority." | CERS contains the relevent data elements specified in the Data Dictionary. PAs would only be allowed to process submittals for the programs they implement and manage only.
(e) | Changed to (c) | Changed for consistency.
| Changed "CUPA" to "UPA" | CUPAs and PAs, which make up the UPA, are required to collect, retain, and manage information as necessary. Changed for clarification.
(e)(1) | Changed "CUPA" to "UPA" | CUPAs and PAs, which make up the UPA, are required to collect, retain, and manage information as necessary. Changed for clarification.
(e)(3) | Added "pertaining to submittals" after requirements | UPAs are required upload reporting requirements to CERS if a local ordinance has changed any reporting information, such as reporting thresholds, etc. If the local ordinance does not involve submittal requirements, then it is not required to be submitted.
(d) | Moved from the original (c) | Moved to a more appropriate place in the section. Changed for clarification.
(e) | Moved from 15180(e)(6) | Moved to a more appropriate section. Changed for clarification.
(f) | Moved from 15180(e)(2) | Moved to a more appropriate section. Changed for clarification.
(g) | Moved from the original (b) | Moved to a more appropriate place in the section. Changed for Clarification.
Original (f) | Deleted | New subsection (h) was written to address access to information.
(h) | Moved from 15100(b)(2)(B)(i)(c) | Adds the requirement for CUPAs to provide information to agencies with shared resposibilities for the protection of public health and safety and the environment.
Original (g) | Moved to (i) | Moved to the end of the subsection as this is the subsection that allows the Secretary to establish and maintain chemical inventory reporting requirements.
§15186
Subsection | Proposed Amendment | Necessity and Purpose
(a) | Added "CERS" to before Data Dictionary | CERS is used to identify what information the Data Dictionary contains.
| Capitalized "division" and "subdivision" | Changed for consistency.
| Rephrased "at title 27" to "in 27 CCR". | Changed for consistency.
| Replaced "lists, organizes, and describes the" with "provides a listing of CERS" | The Data dictionary is a listing of CERS data that is already organized in a logical condition. It provides a listing of CERS data due to the organization
| Added "fields used by regulated businesses, UPAs, and Unified Program state agencies" | Identifies that the data fields are used by many users, based on their CERS user status. Clarifies that many users use CERS data in one form or another.
| Deleted "to be collected and submitted by CUPAs". | CUPAs are not the only entities that collect and submit information to CERS. That is why the previous sentence was rephrased to identify fields used by regulate businesses, UPAs, and Unified Program state agencies,
| Deleted "listed in HSC chapter 6.11. and 15186(a)(1), (2), and (3). | Information was included in the listing of CERS data fields used by regulated businesses, etc. in the previous SOR
| Added "Unified Program" after "administering the". | Identifies what is administered. Changed for clarification.
(a)(1) | Deleted subsection | The changes to paragraph (a) include this element. Redundant.
(a)(2) | Deleted subsection | The changes to paragraph (a) include this element. Redundant.
(a)(3) | Deleted subsection | The changes to new subparagraph (a) include this element. Redundant.
(a)(1) | Added new subsection | Provides a general identification of the data elements found in the Data Dictionary. Added for clarification.
(b) | Deleted "in accordance with the Administrative Procedure Act." | All changes to any regulation are required by law to be in accordance with the APA by statute. Redundant.
(c) | Replaced "divided into discrete" with "obtained as specific CERS". | State agencies are responsible for specifying how information is provided if it is not already a CERS data element. Changed for clarification.
(d) | Replaced "covered by" with "included in". | Data is included in the Data Dictionary. To state that if new statute requirements are not in the Data Dictionary are not covered, is not the correct way to describe this. "Included in" is more appropriate.
| Capitalized "subdivision" | Changed for consistency.
| Replaced "may" with "shall" | State agencies are required to develop a form to be used when information on the form is not included in the Data Dictionary. This is not an optional choice.
| Placed a period at the end of "shall develop and maintain a standard form". | Changed for clarity. Separates the requirement for the form from the contents of the form.
| Replaced "that requires" with "The form shall include". | This new sentence describes what the contents of the new form shall include. Changed for clarification.
| Added "document" before "format" | Requires that the form developed can be uploaded to CERS. For this reason, the form must be in a document format..
| Deleted "a local information management system, or a local reporting portal. | Infomation is required to be entered into CERS. Local information management systems, and local reporting portals do not store information, but forward information to CERS.
| Deleted "that" | Not required to convey the meaning. Redundant.
| Added "statutory or regulatory" | Reporting requirements are made by statute and regulation. This clarifies that new reporting requirements will be entered into the data dictionary at some future time, but a form must be used in the interim. Changed for clarification.
| Moved "CERS" from after Data Dictionary to before Data Dictionary | Changed for consistency.
| Deleted "local information management systems, and local reporting portals." | Infomation is required to be entered into CERS. Local information management systems, and local reporting portals do not store information, but forward information to CERS.
§15186.1
Subsection | Proposed Amendment | Necessity and Purpose
Title | Deleted "Chemical Inventory" and added "Lead Acid Batteries" | The entire section is the requirement for entereing Lead Acid Batteries chemical inventory into CERS. It is not a generic Chemical Inventory reporting process. Future additions to the standard descriptions may result in either a new 15186.2, or potentially another Appendix strictly for Chemical Inventory reporting.
§15187
Subsection | Proposed Amendment | Necessity and Purpose
(a) | Deleted "their own" and added "the" before jurisdiction and "of the CUPA" after jurisdiction. | Changed for consistency and clarity
(a)(1) | Rewrote subsection | Rewrite makes the requirement more easily understood. Clarifies the requirement.
(a)(2) | Rewrote subsection | Rewrite makes the requirement more easily understood. Clarifies the requirement.
(b) | Deleted the last sentence of the subsection and added "or the designated local reporting portal approved by CalEPA" | One sentence is only required to convey the requirement. Clarifies the requirement.
(c) | Added "or local reporting portal" after system | Local reporting portals also need to be capable of transferring electronic data. Adds the requirement for local reporting portals to transfer electronic data.
| Added "electronic data submitted by regulated businesses and". | Electronic data submitted by businesses must also be transferred to CERS. Clarifies the requirement.
| Added "CERS" before Data Dictionary | Identifies that the Data Dictionary applies to CERS. Clarifies what the Data Dictionary entails.
| Capitalized "data exchange technical specifications" | Changed for consistency.
| Replaced "provided" with "established" | CalEPA estabilshed the requirements which were then develeped into the Data Exchange Technical Specifications. Clarifies that the information is not provided by CalEPA, but is established by CalEPA.
(d) | Deleted "local information management system". | Data is not stored in the local information management system. Not a requirement.
(d)(1) | Added new subsection | Requires any local ordinance that affects reporting requirements be documented in CERS. Added for clarification.
(e) | Changed "CUPAs jurisdiction" to "jurisdiction of the CUPA". | Changed for consistency.
§15188
Subsection | Proposed Amendment | Necessity and Purpose
(b) | Deleted "applicable to their business" and added "applicable" before "required data" | Changed for consistency.
| Replaced "of the data elements described in the Data Dictionary" with "to CERS or the CUPA's local reporting portal" | Identifies where the data is to be submitted. The data elements in the Data Dictionary is the data submitted. Redundant.
(d) | Replaced "information required as a part of the Data Dictionary" with "applicable required information into CERS". | CERS data is information that is part of the Data Dictionary. Businesses submit to CERS. Businesses do not submit based on the Data Dictionary, but on the forms in CERS. Changed for clarification.
| Capitalized "section" | Changed for consistency.
(e) | Deleted "submittal" and added "submitted to" before CERS | Makes the sentence more grammatically correct. More consistent.
| Replaced "include" with "sign" and added "upload it into CERS". | Prior to CERS, a business would submit a business plan in paper form. As part of this, a business could submit a Trade Secret Disclosure with the Business Plan. With the advent of CERS, the form is uploaded to CERS. A signature must be applied to the form before submission.
| Changed Appendix from "C" to "D" | Appendix C originally contained the Quarterly Transmittal Report, Annual Fee Summary, and the Trade Secret Disclosure forms. The Trade Secret Disclosure is not associated with the surcharge reporting, so it is removed from Appendix C and moved to Appendix D.
| Deleted "CERS submittal" after Hazardous Material Business Plan and added "and upload it into CERS" after Appendix D). | Identifies that the form has to be uploaded to CERS with the Hazardous Material Business Planto be official. Changed for clarification.
| Changed "in" to "into" after uploaded | Data is uploaded into CERS, not in CERS. Clarity and consistency
(e)(1) | Capitalized "section" | Changed for consistency.
| Deleted "Cal. Gov" and replaced with Government | Changed for consistency.
| Deleted "Cal." before "Civil" | Changed for consistency.
(e)(3) | Deleted "title 23" and added "23" to before CCR. | Changed for consistency.
| Capitalized "section" | Changed for consistency.
(e)(4) | Capitalized "section" | Changed for consistency.
(e)(5) | Capitalized "chapter" and "section" | Changed for consistency.
(f) | Added "UPA" before "local ordinance." | UPAs issue local ordinances, not the federal government or the state. Clarifies that local ordinances are created by the governing body of the UPA.
§15190
Subsection | Proposed Amendment | Necessity and Purpose
(a) | Capitalized "facility" and "permit". | Unfied Program Facility Permit is capitalized throughout the regulations. Changed for consistency.
| Replaced "in accordance with these regulations" with "which consolidates each permit issued in accordance with each program element under the Unified Program." | Adding the statement "which consolidates..." takes the information found in (b) and incorporates it into (a). This is because the UPFP is a consolidated permit. It is more logical to combine subection (b) with (a). Changed for clarification.
(b) | Deleted subsection | Combined with subsection (a). Redundant.
(b)(1) | Deleted subsection | Added to new (b). Redundant.
(b)(2) | Deleted subsection | Added to new (b). Redundant.
(b) | Added new subsection | This subsection identifies the procedures for issuing a Unified Program Facility Permit (UPFP). Currently, there are no specific procedures in the regulation concerning issuing a UPFP. The procedures delevoped include appeal time limits, provisions for review of information for approval, denial, suspenction or revocation of UPFPs, tracking, identifying the businesses requiring a UPFP, issuing methods, and permit issuance and renewal cycles. Added to clarify UPFP issuance procedures.
(b)(3) | Changed to (c) | Requirement is an additional condition for UPFP information from a local ordinance requiring supplemental informaion.
| Changed "Additional" to "Locally" | Additional information will always be local.
| Changed "follow" to "adhere to the requirements found in" | Stresses that additional supplemental information procedures must follow section 15185(c). Changed for clarification.
| Changed "15185(e)" to "15185(c)" | Changed due to changes in the formatting of section 15185. Changed for consistency.
| Capitalized "section" | Changed for consistency.
(c) | Changed to (d) | Changed for consistency.
| Deleted "The CUPA shall provide for a single point of local contact for permit applications". | The single point of contact is emphasized in the sentence following this one. Redundant.
| Changed "program" to "UPA" | Program does not identify who has to provide for a coordinated and consolidated UPFP. UPAs are required to do this. Changed for clarification.
| Changed "permit" to "UPFP" | The permit is called the UPFP, not simply permit. Changed for clarification.
| Replaced "on, the" with "regarding UPFP" | Used to specify what information businesses will need the single point of contact. Changed for clarification.
| Replaced "for, and" with "or". | The single point of contact provides information to businesses concering the UPFP and the UPFP application process. Changed for clarification.
| Added "UPFP" before application process and deleted "for the Unified Program facility permit." | UPFP replaces the "for the Unified Program facility permit" statement. Redundant.
(d) | Deleted subsection | Incoporated into new (b). Redundant.
(e) | Deleted subsection | Incoporated into new (b). Redundant.
(f) | Deleted subsection | Incoporated into new (b). Redundant.
(g) | Changed to (e) | Changed for consistency.
| Replaced "evaluate the coordination, consolidation, and consistency" with "ensure the UPFP is coordinated, consolidated, and consistent, while minimizing duplicate information." | Rewrote the statement to show an evaluation is required, not simply ensuring the UPFP meets the requirements. It also adds the phrase "minimizing duplicate information" because information needs only be provided once to apply it to the entire UPFP. Changed for consistency
(e)(1) | Moved from the definition of a Unified Program Facility Permit in Article 2, section 15110(q) | The specifics of the UPFP UPFP are better identified here rather than in the definition of a UPFP. Changed for clarification.
(e)(2) | Moved from the definition of a Unified Program Facility Permit in Article 2, section 15110(q) | The specifics of the UPFP are better identified here rather than in the definition of a UPFP. Changed for clarification.
(e)(3) | Moved from the definition of a Unified Program Facility Permit in Article 2, section 15110(q) | The specifics of the UPFP are better identified here rather than in the definition of a UPFP. Changed for clarification.
(g)(1) | Changed to (e)(4) | Changed for consistency.
| Changed "Information obtained through the permit evaluation process shall be considered and used in modifying the Unified Program facility permit: with "The UPFP may be modified by the UPA" | Allows for the UPA to make changes to the UPFP for reasons other than information found during the evaluation process. Changed for clarification.
(e)(5) | Added new subsection | The permit needs to be called a consolidated UPFP. Changed for clarification.
(h) | Changed to (f) | Changed for consistency.
| Changed "Unfied Program Facility Permit" to "UPFP". | Changed to Acronym for consistency.
(f)(1) | Deleted "that make up the Unified Program facility permit". | Redundant. The UPFP elements are defined in (e)(1) above.
(f)(2) | Changed Unfied Program facility permit" to "UPFP". | Changed for consistency.
(f)(5) | Deleted "and" | Subparagraph (f)(5) is no longer the penultimate subparagraph. Changed for continuity.
(f)(6) | Added new subsection | Adds the requirement that UPFPs must also meet the UST permit element requirements found in 23 CCR section 2712(c). Ensures consistency.
(f)(6) | Changed to (f)(7) | Changed for consistency.
| Replaced "for each applicable element of the Unified Program" with "and instructions for specific requirements to each permitted program element, if applicable". | The instructions are specific permit conditions a regulated business must comply with in order to keep a UPFP current. Identifies that each program element that requires a permit will have specific conditions that need to be kept. Clarifies the conditions
(f)(7)(A) | Added new subsection | Specifically addresses the operating conditions for USTs must be met. Changed for clarification.
(i) | Deleted subsection | Added as part of (e) above. Redundant.
Reference | Deleted Section 8670.36.5, Government Code | Government Code 8760.26.5 does not exist.
§15200
Subsection | Proposed Amendment | Necessity and Purpose
(a) | Added "in cooperation with PA(s), if applicable," After CUPA. | PAs need to be involved in the development and implementation of an Inspection and Enforcement (I&E) plan as they are responsible for the implementation of any Unified Program elements under their control. Clarifies that the PA(s) need to be involved in the development and implementation of the I & E Plan.
| Added "and implement" after "develop" | Not only should plans be developed by the UPA, they also need to be implemented. Changed for clarification.
| Deleted "plan to implement an inspection and enforcement program." | With the addition of "and implement" this phrase is no longer needed. Redundant.
| Deleted "The" | Deleted in order to make the first and second sentences one sentence. By doing this it identifies what the CUPA is developing and implementing. Changed for clarification.
| Deleted "shall be developed and implemented in cooperation with all PAs of the jurisdiction". | With the addition of "in cooperation with PA(s), if applicable" this phrase is no longer necessary. Redundant.
| Deleted "Program" | The title of the plan is Inspection and Enforcement Plan, not Inspection and Enforcement Program Plan. Program removed as it is not necessary.
| Replaced "plan" with "Inspection and Enforcement (I&E) Plan" | Titles the name of the plan and also provides the acronym. Changed for clarification.
(a)(1) | Replaced "Provisions for administering all program elements." with "An inspection process for each program element that includes pre-inspection, on-site inspections, post-inspection procedures, and re-inspections. | Identifies the inspection process elements that need to be addressed in the I&E Plan, rather than giving an unclear and overly broad general statement. Change made for clarification.
(a)(2) | Moved to (c) | Moved to a more logical place in the reguation.
(a)(3) | Changed to (a)(2) | Changed for consistency
| Deleted Figure 1 - MANDATED INSPECTION FREQUENCIES | The table was removed to allow for easier modification of the document to make it ADA compliant. Tables make the process harder. Changed for consistency.
| Added "following" and "as", and replaced "statutes, as shown in Figure 1" with "the following statutes". | The frequencies were originally in a table. The table was removed to allow for easier modification of the document to make it ADA compliant. Tables make the process harder. Changes made to assist in making the section ADA compliant.
(a)(2)(A)-(F) | Moved information in the Table to the body of the text | The frequencies were originally in a table. The table was removed to allow for easier modification of the document to make it ADA compliant. Tables make the process harder. Changes made to assist in making the section ADA compliant.
(a)(3)(A) | Moved entire subsection to new subsection (e) | Moved to a more logical place in the reguation.
(a)(4) | Added "Description" to beginning of sentence, and moved "coordination" to after inspection. | The CUPA has to decribe the coordination efforts between the CUPA and any PAs, if applicable. Clarifies the requirement.
| Changed (a)(4) to (a)(3) | Changed for consistency
(a)(5) | Changed to (a)(4) | Changed for consistency
(a)(5)(B) | Deleted "prosecuting". | Other agencies besides prosecuting agencies may be notified, such as the Office of the State Fire Marshal, State Water Board, Department of Toxic Substances Control and U.S. Environmental Protection Agency. Allows for enforcement through other agencies.
(a)(6) | Changed to (a)(5) | Changed for consistency
(a)(7) | Changed to (a)(6) | Changed for consistency
| Replaced "standards." with "that include:". | Moved (a)(8) and (a)(9) to (a)(7)(A), and (a)(7)(B). These are requirements that should be part of an enforcement plan. Changed for clarification.
(a)(8) | Changed to (a)(6)(A) | Moved to under (a)(7) because is it part of the coordinated application of enforcement standards and not a stand alone requirement. Clarifies that this requirement is part of the uniform and coordinated appliation of enforcement.
| Changed "state" to "California". | Identifies and makes clear that the penalties and enforcement actions need to be at least as stringent as California statutes and regulations. Clarifies what state is being referred.
| Pluralized "statute" | There is more than one statute in California. Changed for clarification.
(a)(9) | Changed to (a)(6)(B) | Moved (a)(8) and (a)(9) to (a)(7)(A), and (a)(7)(B). These are requirements that should be part of an enforcement plan. Changed for clarification.
| Changed "graduated series of" to "progressive". | The term graduated series of enforcement has been changed to progressive enforcement. Progressive enforcement is a more descriptive term than graduated series of enforcement. Changed for clarification.
| Changed "based on the severity of the violation" to "and implemented until compliance has been achieved". | Progressive enforcement is not based on the severity of the violation, but more on the regulated business' failure to correct violations in a timely manner. Clarifies that severity of the violation is not what triggers progressive enforcement. Progressive enforcement generally begins with informal enforcement and may change to formal enforcement if compliance is not achieved in a timely manner. Changed for clarification.
(a)(10) | Changed to (a)(7) | Changed for consistency.
| Added "in order to promote effective detection, abatement, and deterrence of violations affecting more than one environmental medium or regulatory scheme". | Defines multi-media enforcerment. Clarifies what is expected in the realm of multi-media enforcement.
(a)(11) | Changed to (a)(8) | Changed for consistency.
(a)(12) | Changed to (a)(9) | Changed for consistency.
| Changed "PAs" to PA(s), if applicable. | Not all CUPAs have PAs. This is clarified by the use of if applicable. Additionally, some CUPAs have more than one PA. this is also clarified by the use of PA(s).
(a)(13) | Changed to (a)(10) | Changed for consistency.
(a)(14) | Changed to (a)(11) | Changed for consistency.
| Added "which may include sampling by a qualified person or entity" | Some UPAs are too small to have a sampling unit. This allows UPAs to used contractors or personnel from another UPA to take samples for them.
(b) | Deleted "Program" | The title of the plan in Inspection and Enforcement plan, not Inspection and Enforcement Program Plan. Program removed as it is not necressary. Changed for consistency and clarification.
(b)(1) | Changed "the PA" to "its PA(s), if applicable," | Not all CUPAs have PAs. This is clarified by the use of if applicable. Additionally, some CUPAs have more than one PA. this is also clarified by the use of PA(s).
(c) | Deleted subsection | Parts of subsection (c) were moved to new subsection (a)(7). Redundant
(c) | Added new subsection | Infomation moved from subsection (a)(2). More logical to position this information here
(d) | Added new subsection | CUPAs should conduct inspections of all applicable Program Elements whenever feasible. Clarifies this should be considered.
(e) | Moved from old (a)(3)(A) | This is a more logical place for this subsection. Moved for clarification
(d) | Changed to (f) | Changed for consistency.
| Capitalized division and chapter. | Changed for consistency.
(e) | Changed "CUPAs" to "UPAs" | Changed for consistency.
| Deleted "when appropriate" | When appropriate is not needed here. UPAs are responsible for initiating enforcement actions. These enforcement actions may be informal or formal enforcement. Clarifies that initiating enforcement actions is always appropriate.
| Deleted "also" | Not necessary. UPAs either initiate enforcement and follow through, or refer cases for civil or criminal enforcement. Both cannot occur. Changed for clarification.
| Added "formal" to before "enforcement" | Ensures only formal enforcement is referred to local, state, or federal agencies. Clarifies which enforcement is referred.
| Added "local," to before "state" | Local agencies, such as District Attorneys, County prosecutors, etc. can also be referred cases. Clarifies that local agencies may be considered.
| Changed to (g) | Changed for consistency
(f) | Changed to (h) | Changed for consistency
§15210
Subsection | Proposed Amendment | Necessity and Purpose
(a) | Delete "within its jurisdiction." | A CUPA would not implement a single fee system outside its jurisdiction, so this statement is unnecessary.
| Replace "The single fee system will do the following" with "to". | The beginning of this paragraph say "The CUPA shall inplement a single fee system." Changing "The single fee system will do the following" with "to" does not change the intent of the paragraph. Change for clarification.
(a)(1) | Change "Consolidates" to "Consolidate". | The plural of consolidate is grammatically incorrect. Changed for grammatical correctness.
| Replace the period after Program with ", including state surcharges; and," | Fees currenlty mandated also include the state surcharges. Adding this phrase clarifies that state surcharges must also be consolidated in the Single Fee system. Added for clairification.
(a)(2)(A) | Moved from (e) with additional definition. | Originally in paragraph (e) in truncated form, this sub-paragraph is inserted here to identify that PAs need to notify CUPAs of their necessary and reasonable costs to implement their Unified Program element. Also identifies that these costs must be determined by completing a Fee Accountability Program evaluation. Added for clarification.
(b) | Added new subsection | While there was a requirement to implement a Single Fee System, the procedures were not written in a cohesive manner. This subsection requires the CUPA to establish cohesive procedures. Added for clarification.
(b)(1) | Added new subsection | Identifies which portion of the Single Fee System is being discussed. Added for clarification.
(b)(1)(A) | Moved from (g) | Moved for consistency,
(b)(1)(B) | Moved from (f) | Moved for consistency,
(b)(1)(B)(i) | Moved from (f)(1) | Moved for consistency,
(b)(1)(C) | Moved from (h) | Moved for consistency,
(b)(1)(D) | Moved from (l) | Moved for consistency,
(b)(1)(D)(i) | Moved from (l)(1) | Moved for consistency,
(b)(2) | Added new subsection | Identifies which portion of the Single Fee System is being discussed. Added for clarification.
(b)(2)(A) | Moved from first sentence of (i) | Moved for consistency.
(b)(2)(B) | Moved from (c)(3) | Moved for consistency.
(b)(2)(C) | Moved from second sentence of (i) | Moved for consistency.
(b)(2)(D) | Moved from (c)(1). | Moved for consistency.
| Added "the following" before "factors" | Identifies that there are factors that must be considered when determining fees. Added for clarification.
| Added "the Uniform" before "programs" | The fees are required to implement and maintain the Unified Program. Added for clarification.
| Changed "programs" to "program" | There is only on Unified Program. Changed for consistency
| Capitalized program | Changed for consistency
(b)(2)(D)(i) | Added new subsection | Identifies what is used to dertemine the costs of implementing and maintaining the Unified Program. First, an UPA must determine their operating costs. Added for clarification.
(b)(2)(D)(ii) | Added new subsection | Secondly, the UPA will use it's fees to determine whether they are charging and/or collecting sufficient moneys to implement and maintain the Unified Program. Added for clarification.
(b)(3) | Moved from (j) | Moved for consistency.
(b)(4) | Moved from (k) | Moved for consistency.
(b)(4)(A) | Moved from first sentence of (k)(1) | Moved for consistency.
(b)(4)(B) | Moved from second sentence of (k)(1) | Moved for consistency.
(b)(4)(B)(i) | Added new subsection | Added the requirement to submit dispute resolution requests to the Secretary. Clarifies how the dispute is transmitted to the Secretary.
(b)(5) | Added new subsection | Adoption of this requirement, the Single Fee System will require an annual review to verify the UPAs single fee is set at a level to meet the necessary and reasonable costs to implement the Unfied Program. Added for clarification.
(b) | Changed to (c) | Changed for continuity as a new (b) was added.
| Capitalized single fee system and section | Changed for consistency
(d) | Moved | Moved for outline format consistency.
(c) | Changed to (e) | Changed for consistency
| Capitalized "single fee system" | Changed for consistency
(c)(1) | Moved to (b)(2)(D) | Changed for consistency
(c)(2) | Changed to (e)(1) | Changed for consistency
(c)(3) | Moved to (b)(2)(B) | Changed for consistency
(e) | Moved to (a)(2)(A) | Changed for consistency
(f) | Moved to (b)(1)(B) | Changed for consistency
(f)(1) | Moved to (b)(1)(B)(i) | Changed for consistency
(g) | Moved to (b)(1)(A) | Changed for consistency
(h) | Moved to (b)(1)(C) | Changed for consistency
(i) | First sentence moved to (b)(2)(A) | Changed for consistency
| Second sentence moved to (b)(2)(C) | Changed for consistency
(j) | Moved to (b)(3) | Changed for consistency
(k) | Moved to (b)(4) | Changed for consistency
(l) | Moved to (b)(1)(D) | Changed for consistency
(l)(1) | Moved to (b)(1)(D)(i) | Changed for consistency
§15220
Subsection | Proposed Amendment | Necessity and Purpose
(a) | Change "CUPA" to "UPA" | PAs are also required to develop and implement a Fee Accountability Program. PAs are currently doing this in order to determine the reasonable and necessary costs to implement the Unified Program. Changed for clarification.
| Added "develop procedures to" after "shall | Identifies the Fee Accountability Program requires procedures in order to assist the UPA in determining both initial costs and ongoing reasobable and necessary costs for to implement the Unified Program
| Capitalize "fee accountability program" | Changed for consistency
| Change "designed to encourage" to "to demonstrate" | The Fee Accountability Program is not developed to encourage efficient and cost-effective operation of the Unified Program, but to ensure efficient and cost-effective operation of the Unified Program. Changed for clarification.
| Added "Uniform" before "program" | Identifies which program is being operated. Added for clarification.
| Capitalized "program" | Changed for consistency
| Changed "for which the single fee and surcharge are assessed" with "through the Single Fee System." | "Through the Single Fee System" says in less words what the previous statement alluded to. Changed for clarification.
| Added "Fee Acountability Program procedures shall include, but not be limited to: | This is a rewrite of the second sentence in subparagraph (a)(1). Added for clarification.
(a)(1) | First sentence moved to (b). | The Fee Accountability Program must be instituted before the Single Fee System. This does not concern the development of the Fee Accountability Program, but should be addressed in a different paragraph. Changed for clarificatin.
| Second sentence moved to (a) | Paragraph (a) identifies there are certain elements that must be included with a Fee Accountability Program. Moving (a)(1) to (a) establishes three elements to be part of the procedures for developing a Fee Accountability Program. Changed for clarification.
(a)(1)(A) | Changed to (a)(1) | Changed for consistency
| Added "An" before "accounting" | The sentence should start with "An". Added for consistent grammar
| Removed colon after "for" | Sentence continues on but the conditions are identifed in separate subparagraphs below. The colon is placed at the end of the new phrase. The colon is redundant and not needed.
| Moved "the fee schedule, the actual amount billed, and the revenue collected" to (a)(2)(A) and (B) | Subsection (a)(1) concerns the initial development of the Fee Accountability Program and the Single Fee. Fee schedule, acutal amount billed, and revenue collected should all be addressed in the annual review, which is covered in subsection (a)(2). Moved for clarification.
| Added "the operating costs of the Unified Program Implementation as follows:" | In order to develop a Single Fee System, operating costs must be determined. Adding this phrase begins the process of identifying what should be considered when determing operating costs. Added for clarification.
(a)(1)(B) | Changed to (a)(1)(A) | Changed for consistency
(a)(1)(C) | Changed to (a)(1)(B) | Changed for consistency
| Changed "the" to "each" | Changed due to added information in the sentence
| Added "element, including by category, if applicable, based on a full-time equivalent per staff positions, per calendar year, and the corresponding salary for each staff position." | More readily defines how staff hours should be determined. Added for clarification.
(a)(1)(D) | Changed to (a)(1)(C) | Changed for consistency
(a)(1)(E) | Changed to (a)(1)(D) | Changed for consistency
(a)(1)(F) | Changed to (a)(1)(E) | Changed for consistency
| Deleted "within the jurisdiction" | UPAs would not be counting businesses not within their jurisdiction. The phrase is meaningless in this context.
| Added "including by category, if appicable, regulated by the UPA." | UPAs need to identify their regulated business universe in order to determine the operating costs for each program element. Some programs have different categories which will have an impact on the necessary and reasonable costs. Added to clarify the categories must be taken into account.
(a)(1)(G) | Changed to (a)(1)(F) | Changed for consistency
| Replaced "Total number of regulated businesses in the jurisdiction" with "The number of regulated businesses in each program element, including by catergory, if applicable, assessed the single fee". | Not all businesses are assessed the single fee. This subparagraph requires the UPA to identify how many businesses will be assessed the single fee. With new subparagraph (a)(1)(G), the entire UPA universe is captured. Changed for clarification
(a)(1)(G) | Added new subsection | Not all businesses are assessed the single fee. This subparagraph requires the UPA to identify how many businesses will not be assessed the single fee. Along with subparagraph (a)(1)(F), the entire UPA universe is captured. Changed for clarification
(a)(2) | Deleted subsection | Statement is too vague. New subsection has been rewritten for clarification.
(a)(2) | Added new subsection | New subsection and the additional subparagraphs provide a more in-depth and definitive requirement for what must be considered when conducting an annual review of the Fee Accountability Program and the Single Fee System. Added for clarification
(a)(2)(A) | Added new subsection | New paragraph and the additional subparagraphs provide a more in-depth and definitive requirement for what must be considered when conducting an annual review of the Fee Accountability Program and the Single Fee System. Added for clarification
(a)(2)(B) | Added new subsection | New paragraph and the additional subparagraphs provide a more in-depth and definitive requirement for what must be considered when conducting an annual review of the Fee Accountability Program and the Single Fee System. Added for clarification
(a)(3) | Added new subsection | The annual review should identify whether the necessary and reasonable costs for implementing the Unified Program is sufficient. The annual review may show the single fee schedule is too low or possibly too high. The review is designed to make adjustments to fees. Added for clarification.
(b) | Moved from (a)(1) | This paragraph is a stand-alone statement and is independent of the Fee Accountability Program initial development or annual review. This paragraph states the Fee Accountability Program comes first. Moved for clarification.
§15240
Subsection | Proposed Amendment | Necessity and Purpose
(a)(1) | Capitalized "division" and "chapter" | Changed for consistency
(a)(2) | Capitalized "division" and "chapter" | Changed for consistency.
(c) | Changed "person" to "regulated business" | Regulated business is defined in 27 CCR, section 15242. This definition includes "person" as identified in numerous HSC statutes. Clarifies that regulated business is the entity that is assessed state surcharges.
| Deleted "their" | Not necessary. Redundant.
(c)(1) | Added "surcharge' before component | Identifies that the regulation is specifically speaking about surcharges. Clarification
| Changed "person" to "regulated business" | Regulated business is defined in 27 CCR, section 15242. This definition includes "person" as identified in numerous HSC statutes. Clarifies that regulated business is the entity that is assessed state surcharges.
(c)(1)(A)-(C) | Added new subsection | Breaks down the CUPA oversight surcharge into its respective components. Added for clarification.
(c)(2) | Added "surcharge' before component | Identifies that the regulation is specifically speaking about surcharges. Clarification
| Capitalized "section" | Changed for consistency.
(c)(3) | Added "surcharge' before component | Identifies that the regulation is specifically speaking about surcharges. Clarification
| Changed "section 25531 et seq." to "Chapter 6.95, Article 2" | Chapter 6.95, Article 2, is the same as section 25531 et seq. Changed for consistency.
(c)(3)(A) | Deleted "within a CUPA's jurisdiction". | Not necessary. A CUPA will not assess a surcharge for a regulated business not in their Unified Program responsibilitises
| Changed "The" to "One" and Deleted "business's" | The surcharge is assessed to a regulated business subject to the CalARP surcharge and not on the number of stationary sources. Clarifies only one CalARP surcharge is assessed.
(c)(3)(B) | Delete "at a stationary source" | If the regulated does not have a stationary source then there would be no need to determine whether they needed to pay the surcharge. Unnecessary.
| Change "a" to "the" | Changes the determination from an indefinite to a definite article. Changed to make the statement more cogent.
| Added a colon after "that" | Identifies that there are additional items that need to be addressed. Added for clarification.
(c)(3)(B)(i) | Added new subsection | Moved from (c)(3)(B) and made into it's own paragraph to more clearly identify the conditions in which the CUPA may waive the surcharge comonent. Clarifies the determination criteria.
| Capitalized "there" | New sentence requires first word to be capitalized. Changed for consistency.
(c)(3)(B)(ii) | Added new subsection | Moved from (c)(3)(B) and made into it's own paragraph to more clearly identify the conditions in which the CUPA may waive the surcharge comonent. Clarifies the determination criteria.
| Changed "does not require the" with "The" | New sentence requires first word to be capitalized. Changed for consistency.
(c)(4) | Added "surcharge' before component | Identifies that the regulation is specifically speaking about surcharges. Clarification
| Changed "section 25270 et seq" to "Division 20,Chapter 6.67". | Chapter 6.67 is the same as section 25270 et seq. Changed for consistency.
(c)(5) | Added "surcharge' before component | Identifies that the regulation is specifically speaking about surcharges. Clarification
| Deleted "title" and moved "19" to before CCR | Changed for consistency.
| Capitalized "section" | Changed for consistency.
(e) | Capitalized "section" | Changed for consistency.
(f) | Capitalized "single fee system" | Changed for consistency.
§15241
Subsection | Proposed Amendment | Necessity and Purpose
(a) | Capitalized "sections" | Changed for consistency.
(c) | Deleted "The initial reporting period is July 1, 2005, through June 30, 2006". | These dates have passed. No longer necessary.
(c)(1)(A) | Added "onsite hazardous waste treatment" after generator. | The program element is known as the hazardous waste generator and onsite hazardous waste treatment. Added for clarity.
| Deleted "hazardous waste recycler, and tiered permit". | Hazardous waste recycler is a subcategory of onsite hazardous waste treatment, as is tiered permitting. Redundant with the program element name.
| Changed "the" to "one" | The section concerns tiered permitting. The is not necessary. One is necessary because if a regulated business has more than one tiered permit, they are only required to pay for the treatment method with the highest fee, and not pay for both programs. Changed for clarification.
| Deleted "for only one such operation per site" | Redundant with the addition of "one" replacing "the"
(d) | Capitalized "section" | Changed for consistency.
| Deleted "of the HSC" and added "HSC" to before section. | Changed for consistency.
| Deleted "subdivision (b)(1)" and added "(b)(1)" after "25404.5" | Changed for consistency.
(e) | Added "regulated" before "business' | Businesses are defined as regulated businesses per 27 CCR section 25510(l).
| Capitalized "regulated" and uncapitalized "Businesses" | Regulated now begins the sentence. Changed for consistency.
(f) | Changed "State Board of Equalization" to "California Department of Tax and Fee Administration". | Name changed when many of the authotities of the BOE was transferred to the California Department of Tax and Fee Administration with the passage of AB 102 (Chapter 16, Statutes of 2017). Changed to reflect this change.
| Capitalized "section" | Changed for consistency.
| Changed "person's" and "person" to "regulated business;" and "regulated business", respectively. | Regulated business is defined in 27 CCR, section 15242. This definition includes "person" as identified in numerous HSC statutes. Clarifies that regulated business is the entity that is assessed state surcharges.
| Changed "occurred not withstanding" to "not failure to" | Occurred not withstanding is confusing language. Not failure to means the same thing. Changed for clarity.
| Deleted "of" | Not necessary. Changed for clarity
| Changed "and the absence of" to "for through" | And the absence of is confusing language. "For through" identifies that the failure to pay fees was not through neglect (as the new sentence will idnentify). Changed for clarity
| Deleted "he or she bases" and added "is based" to the end of the sentence. | Removes any sexual identification from the relief, but identifies that the request for relief must be base on facts. In this day and age, there are more identities than simply he or she. Changed for clarity.
(g) | Changed "person" to "regulated business" | Regulated business is defined in 27 CCR, section 15242. This definition includes "person" as identified in numerous HSC statutes. Clarifies that regulated business is the entity that is assessed state surcharges.
| Capitalized "section" | Changed for consistency.
(i) | Capitalized "section" | Changed for consistency.
(j) | Changed "person" to "regulated business" | Regulated business is defined in 27 CCR, section 15242. This definition includes "person" as identified in numerous HSC statutes. Clarifies that regulated business is the entity that is assessed state surcharges.
(k) | Changed "person" to "regulated business" | Regulated business is defined in 27 CCR, section 15242. This definition includes "person" as identified in numerous HSC statutes. Clarifies that regulated business is the entity that is assessed state surcharges.
§15242
Subsection | Proposed Amendment | Necessity and Purpose
None | Capitalized "section" | Changed for consistency.
(c) | Deleted "of CCR, title 22" and added "22 CCR," to before section. | Changed for consistency.
| Changed "person" to "regulated business" | Regulated business is defined in 27 CCR, section 15242. This definition includes "person" as identified in numerous HSC statutes. Clarifies that regulated business is the entity that is assessed state surcharges.
| Deleted "of the HSC" and added "HSC" to before section. | Changed for consistency.
| Capitalized section | Changed for consistency.
(c)(1) | Changed "person" to "regulated business" | Regulated business is defined in 27 CCR, section 15242. This definition includes "person" as identified in numerous HSC statutes. Clarifies that regulated business is the entity that is assessed state surcharges.
(c)(2) | Changed "person" to "regulated business" | Regulated business is defined in 27 CCR, section 15242. This definition includes "person" as identified in numerous HSC statutes. Clarifies that regulated business is the entity that is assessed state surcharges.
(c)(3) | Changed "person" to "regulated business" | Regulated business is defined in 27 CCR, section 15242. This definition includes "person" as identified in numerous HSC statutes. Clarifies that regulated business is the entity that is assessed state surcharges.
(g) | Changed "person" to "regulated business" | Regulated business is defined in 27 CCR, section 15242. This definition includes "person" as identified in numerous HSC statutes. Clarifies that regulated business is the entity that is assessed state surcharges.
| Deleted "of CCR, title 22" and added "22 CCR," to before section. | Changed for consistency.
(i) | Capitalized "section" | Changed for consistency.
| Deleted "of the HSC" and added "HSC" to before section. | Changed for consistency.
| Changed "article 2 (commencing with section 25110) of chapter 6.5 of division 20 of the HSC" to "HSC, Division 20, Chapter 6.5, Article 2" | Changed for consistency.
| Deleted "of CCR, title 22" and added "22 CCR," to before section. | Changed for consistency.
§15250
Subsection | Proposed Amendment | Necessity and Purpose
(a)(3)(B) | Capitalized "sections" | Changed for consistency
| Deleted "their" | Not needed. CUPAs would not prorate another CUPAs fees. Redundant
| Changed "15241 and 15242" to "15240 and 15241" | Section 15242 is a definition section and should not be used as a notwithstanding section. Section 15240 is the State's Surcharge Responsibility section, and Section 15241 is the Establishing the Single Fee for Designated State Agencies section. These are the notwithstanding Sections. Changed for clarification.
(b) | Capitalized "section" | Changed for consistency
| Deleted "to the Secretary within 30 days of the end of each state fiscal quarter". | This is stated in 27 CCR section 15290 which is the section referred to. Redundant.
(b)(1) | Moved to Section Article 6 Section 15290(a)(1) | Article 6 is CUPA to State Reporting. It is more logical for this information to be there instead of here. Moved for clarification.
(b)(2) | Moved to Section Article 6 Section 15290(a)(2) | Article 6 is CUPA to State Reporting. It is more logical for this information to be there instead of here. Moved for clarification.
(b)(2)(i) | Deleted Table and put items in table in the paragraph. | Tables are difficult to work with when trying to make documents ADA compliant. Removed the table to assist in this process.
| Moved to Article 6 Section 15290(a)(2)(A) | Article 6 is CUPA to State Reporting. It is more logical for this information to be there instead of here. The table was not moved as it was deleted before this section was moved to 15290(a)(2)(A). Moved for clarification.
(b)(2)(ii) | Moved to Article 6 Section 15290(a)(2)(B) | Article 6 is CUPA to State Reporting. It is more logical for this information to be there instead of here. Moved for clarification.
(b)(3) | Moved to Article 6 Section 15290(a)(4) | Article 6 is CUPA to State Reporting. It is more logical for this information to be there instead of here. Moved for clarification.
§15260
Subsection | Proposed Amendment | Necessity and Purpose
Section Title | Changed CUPA to UPA | Article 5, Section 15270, PA Education, Technical Expertise, and Training is repealed with this regulatory package and because PAs and CUPAs make up the UPA, UPA is the more correct designation..
| Removed ", Technical Expertise," | Technical Expertise is removed because that is part of the education requirements in regards to qualification as an UPA technical staff or supervisor.
(a)(1) | Deleted subsection | New subsection (a) replaces this subsection.
(a)(1)(A) | Deleted subsection | New subsection (a) replaces this subsection.
(a) | Added new subsection | Combines the requirements of (a)(1) and (a)(1)(A) into one subsection.
(a)(1)(A)(i) | Changed "Thirty semester units learned from an accredited college or institution" with "Bachelor's degree from an accredited college, accredited university or equivalent degree with major coursework" | The requirement for units learned is addressed in the new (a)(3). Because a Bachelor's degree has a higher standing than simply educational credits, the Bachelors degree option was moved from subsection (d) Education Requirements and placed here. Clarifies the educational requirements when combined with the new (a)(2) and (a)(3).
| Changed to (a)(1) | Changed for consistency
(a)(1)(A)(i)aa | Changed to (a)(1)(A) | Changed for consistency
(a)(1)(A)(i)bb | Changed to (a)(1)(B) | Changed for consistency
(a)(1)(A)(i)cc | Changed to (a)(1)(C) | Changed for consistency
(a)(1)(A)(i)dd | Changed to (a)(1)(D) | Changed for consistency
(a)(1)(A)(i)ee | Changed to (a)(1)(E) | Changed for consistency
(a)(1)(A)(i)ff | Changed to (a)(1)(F) | Changed for consistency
(a)(1)(A)(i)gg | Changed to (a)(1)(G) | Changed for consistency
(a)(1)(A)(i)hh | Changed to (a)(1)(H) | Changed for consistency
(a)(1)(A)(i)ii | Changed to (a)(1)(I) | Changed for consistency
(a)(1)(A)(i)jj | Changed to (a)(1)(J) | Changed for consistency
(a)(1)(A)(i)kk | Changed to (a)(1)(K) | Changed for consistency
(a)(1)(A)(ii) | Deleted subsection | This section is no longer necessary as it is addressed in the new (a)(1). Redundant.
(a)(2) | Moved from (d)(1)(B) | Moved to place education requirements in one paragraph instead of several. Changed for clarification and consistency.
(a)(1)(A)(iii) | Deleted subsection | Rewritten as the new (a)(3). Redundant.
(a)(3) | Added new subsection | Identified that UPA staff and supervisors do not need a Bachelor's degree, but must have a minimum number of units and/or experience to meet minimum requirements. Added 46 quarter units for colleges and universities who use the term instead of the semester timing. Increased qualifying to two years to meet the 15 semester or 23 units exemption.
(b) | Deleted subsection | Addressed in new (a)
(b) | Added new subsection | Institutes a grandfather clause into the regulation for those staff and supervisors who are qualified in the old system, but would not meet the education requirement in the new system.
(a)(1)(B) | Deleted subsection | Addressed in new (c)
(c) | Added new subsection | Article 5, Section 15270, PA Education, Technical Expertise, and Training is repealed with this regulatory package and because PAs and CUPAs make up the UPA, UPA is the more correct designation. All training will now be addressed in susection (c).
(a)(1)(B)(i) | Changed to (c)(1). Amplified what was originally meant as regulatory overview by adding statutes and regulations, both federal and state, along with local ordinances. | Expands on the requirement to include statutory and regulatory of, federal regulations, state statutes and regulations, and applicable local ordinances that involve any of the Unified Program elements. Clarifies the regulatory overview requirement.
(a)(1)(B)(ii) | Changed to (c)(2) | Training is now addressed in subsection (c)
(a)(1)(B)(iii) | Changed to (c)(3) | Training is now addressed in subsection (c)
(a)(1)(B)(iv) | Changed to (c)(4) | Training is now addressed in subsection (c)
(a)(1)(B)(v) | Changed to (c)(5) | Training is now addressed in subsection (c)
(a)(1)(B)(vi) | Changed to (c)(6) | Training is now addressed in subsection (c)
(c) | Deleted | Replaced by new (c) above.
(c)(1) | Changed to (c)(7) | Training is now addressed in subsection (c)
(c)(2) | Changed to (c)(8) | Training is now addressed in subsection (c)
(c)(3) | Changed to (c)(9) | Training is now addressed in subsection (c)
(c)(4) | Changed to (c)(10) | Training is now addressed in subsection (c)
(c)(5) | Changed to (c)(11) | Training is now addressed in subsection (c)
(d)(1)(A) | Moved to (a), (a)(1), and (a)(3) | Requirements were moved to subsection (a)
(d)(1)(B) | Move to (a)(2) | Moved to place education requirements in one paragraph instead of several. Changed for clarification and consistency.
(d)(2) | Deleted subsection | Most new inspectors will not have one years experience in conducting hazardous material or hazardous waste regulatory compliance. Additionally, the requirement does not address the UST, APSA, or CalARP aspects of the Unified Program. Repealed due it not being easily achievable and not comprehensive enough.
(d)(3) | Deleted subsection | Training for staff issuing enforcement orders is addressed in the new subsection (d).
(d)(3)(A) | Changed to (c)(12) | Training is now addressed in subsection (c)
(d)(3)(B) | Deleted subsection | 100 hours of training is no longer required. Training of all areas will be completed within 18 months of hire, and all topics will be refreshed at least once every three years.
(d)(3)(B)(i) | Moved to (c)(1) | Training is now addressed in subsection (c)
(d)(3)(B)(ii) | Moved to (c)(5) | Training is now addressed in subsection (c)
(d)(3)(B)(iii) | Moved to (c)2) | Training is now addressed in subsection (c)
(d)(3)(B)(iv) | Moved to (c)(5) | Training is now addressed in subsection (c)
(d)(3)(B)(v) | Moved to (c)(8) | Training is now addressed in subsection (c)
(d)(3)(B)(vi) | Moved to (c)(5) | Training is now addressed in subsection (c)
(d)(3)(B)(vii) | Moved to (c)(5) | Training is now addressed in subsection (c)
(d)(3)(B)(viii) | Moved to (c)(6) | Training is now addressed in subsection (c)
(d)(3)(B)(ix) | Moved to (c)(6) | Training is now addressed in subsection (c)
(d)(3)(B)(x) | Moved to (c)(8) | Training is now addressed in subsection (c)
(d)(3)(B)(xi) | Changed to (c)(13) | Training is now addressed in subsection (c)
(d)(3)(B)(xii) | Changed to (c)(14) | Training is now addressed in subsection (c)
(d)(3)(C) | Changed to (d) | Changed for consistency
| Changed "Twenty four hours of" to "UPA staff and supervisors who will be issuing administrative enforcement orders shall have" | UPA staff issuing enforcement orders are required to have this additional training that is not required by rank and file staff. Clarifies that additional training is required for this specialized topic.
(d)(3)(C)(i) | Changed to (d)(1) | Changed for consistency
| Changed "Training on penalty" to "Penalty" | Entire subsection is concerning training. Redundant.
(d)(3)(C)(ii) | Changed to (d)(2) | Changed for consistency
(e) | Added new subsection | Identifies the training timeline for inspectors from initial hiring and including refresher training. Clarifies when training must be completed and the refresher requirements.
(d)(3)(D) | Changed to (f) | Changed for consistency
(g) | Added new subsection | The training requirments for UPA staff and supervisors must also be met by contractors, if they are performing Unified program operations.
§15270
Subsection | Proposed Amendment | Necessity and Purpose
15270 | Repeal Section | Participating Agencise now must meet the educational and training requirements of a CUPA. Provides consistency in the the operations of a CUPA and it's PAs

## Article 6 §§15280-15290
Title 27 Division 1, Subdivision 4, Chapter 1, Part 2, Article 6
§15280
Subsection | Proposed Amendment | Necessity and Purpose
(a) | Added "of their Unified Program administration, implementation and enforcement activities". | Currently, the regulation states a self-audit be conducted, but doesn't identify what should be reviewed. Addition was made to clarify what items should be analyzed in the annual self-audit.
| Added "including the assessment of the performance of a PA or other agency authorized to administer, implement and enforce any program element." | CUPAs conduct annual assessments of any PAs attached to them annually per 27 CCR Section 15330(d) (now (e) with this revision of the regulation). Section 15330(d) also requires the CUPA to include the assessment in their annual self-audit.
| Moved "and shall be maintained on file for a period of five years." to new (c)(1) | Moved to a new paragraph in order to emphasize the importance of keeping the self-audit reports for five years. Moved for clarification.
| Moved "The time period covered by each self-audit is the state fiscal year from July 1 through June 30 of each year" to new paragraph (b). | Moved to a new paragraph in order to emphasize the reporting period for each self-audit. Moved for clarification.
| Moved "Annual self-audit reports shall be completed by September 30 of each year" to new subparagraph (c)(2). | Section (a) is the requirement to conduct an annual self-audit. The due date for the the self-audit was written in the description of the annual self-audit requirement. Moving the time frame into it's own subsection more clearly identifies the time frame of each self-audit. Subsection (a)(1) identifies when the self-audit is required to be completed.
(a)(1) | Moved to (c)(2) | Moved for consistency.
(a)(2) | Moved to (e) | Subsection (a)(2), as it is currently written, is not in a logical position as it does not apply to writing a self-audit report, but concerns the Secretary requesting a copy of the self-audit. Moved to separate the Secretary's request from the requirement to conduct and document a self-audit.
(a)(3) | Changed to (d) | Moved for consistency.
(b) | Deleted subsection | Information is covered in (a). Redundant.
(b) | Added new subsection | Moved from (a).
(c) | Deleted subsection | Replaced by new (c)(3). Redundant.
(c)(1) | Deleted subsection | CUPAs should not be identifying deficiencies, but areas of improvement. Areas of improvement requirements will be addressed in the new (c)(3)(B). Redundant.
(c)(2) | Moved to (c)(3)(C) | Moved for consistency.
(c)(2)(A) | Deleted subsection | Permitting is not required in a self-audit report. Unnecessary/
(c)(2)(B) | Deleted subsection | Replaced by new (c)(3)(C)(ii). Redundant.
(c)(2)(C) | Deleted subsection | Replaced by new (c)(3)(C)(iii). Redundant.
(c)(2)(D) | Deleted subsection | Replaced by new (c)(3)(E). Redundant.
(c)(3) | Deleted subsection | Replaced by new (c)(3)(D). Redundant.
(c)(4) | Deleted subsection | Replaced by new (c)(3)(E). Redundant.
(c)(5) | Deleted subsection | Replaced by new (c)(3)(F). Redundant.
(c)(6) | Deleted subsection | Replaced by new (c)(3)(G). Redundant.
(c) | Added new subsection | Makes clear the self-audit must be written. Added for clarifications.
(c)(1) | Moved from (a) | Makes clear the written self-audit report must be maintained for five years.
(c)(2) | Moved from (a)(1) | Moved for consistency.
| Moved "Annual self-audit reports shall be completed by September 30 of each year" from paragraph (a). | Makes clear the self-audit must be written by September 30 annually.
(c)(3) | Added new subsection | Moved from (c).
(c)(3)(A) | Added new subsection | Requires a cover page with the completion date be provided. Added for clarification.
(c)(3)(B) | Added new subsection | Requires the CUPA to identify areas needing improvement and to also report on progress made on improvement areas identified in previous self-audits. Added for clarification.
(c)(3)(C) | Moved from (c)(2) | Moved for consistency.
(c)(3)(C)(i) | Added new subsection | Staffing status is a topic that should be discussed in the self-audit. Staffing has a huge effect on all of the other items requiring a narrative summary. Added for clarification.
(c)(3)(C)(ii) | Moved from (c)(2)(B) | Moved for consistency.
| Added "conducted" | Identifies that inspections for each program element are instrumental in determining the CUPAs ability to implement the specific program elements. When inspections conducted do not equal or exceed the expected number of inspections, this is a problem. Added for clarification.
(c)(3)(C)(iii) | Moved from (c)(2)(C) | Moved for consistency.
| Added "actions". | Added to identify that enforcement is not to be summarized, but enforcement actions taken should be summarized. Added for clarification.
(c)(3)(C)(iv) | Added new subsection | Community outreach efforts must be identified and summarized. Community outreach is vital to ensure the community, especially those impacted communities, know what is going on and the efforts the CUPA is taking to rectify problemt. Added for clarification.
(c)(3)(C)(v) | Added new subsection | Training of staff is vital to ensure the Unified Program is implemented correctly. An annual review of training conducted and received will allow the CUPA to more effectively train personnel. Added for clarification.
(c)(3)(C)(vi) | Added new subsection | CERS is the statewide management system in which all information is stored. Accuracy of the information, both from regulated businesses and the CUPA, is vital to ensure compliance and proper management of the Unified Program. Added for clarification.
(c)(3)(D) | Moved from (c)(3) | CUPAs are responsible for submtting quarterly and annual single fee reports to CalEPA. This section is designed to allow CUPAs to explain discrepancies on how much money was received quarterly does not match what is reported on the annual single fee report. Added for clarification.
(c)(3)(E) | Moved from (c)(4) | Moved for consistency.
| Capitalized "fee accountability program" | Changed for consistency
(c)(3)(F) | Moved from (c)(5) | Moved for consistency.
| Changed "record" to "description" | The self-audit is the record. What is required is a description of the changes. Changed for clarification.
(c)(3)(G) | Moved from (c)(6) | Moved for consistency.
(d) | Moved from (a)(3) | Moved for consistency.
(e) | Moved from (a)(2). | Subsection (a)(2), as it is currently written, is not in a logical position as it does not apply to writing a self-audit report, but concerns the Secretary requesting a copy of the self-audit. Moved to separate the Secretary's request from the requirement.
§15290
Subsection | Proposed Amendment | Necessity and Purpose
(a) | Replace "submit the following CUPA-to-State reports" with "remit the collected state surcharge revenues to the Secretary within 30 days of the end of each state fiscal quarter using the Surcharge Transmittal Report (Appendix C) | Specifies that the CUPA must submit surcharges within 30 days of the end of the quarter. This is in line with 27 CCR, Section 15250(b). Changed for clarification.
(a)(1) | Deleted | This is now stated in (a). Redundant.
(a)(1) | Moved from Article 5 Section 15250(b)(1) | Moved from Article 5 to Article 6 because this concerns CUPA reporting requirements. It is more logical to be in this section.
| Changed "should" to "shall" | Should implies that a CUPA is not required to remit the surcharge revenues. Shall makes the requirement mandatory. Clarifies the requirement to remit the surcharge revenues.
(a)(2) | Changed to (b) | Subsection (a) is the Quarterly Transmittal Report requirements. Subsection (b) is the Annual Single Fee Report requirements. Changed for consistency and to separate reports into distinct areas.
(a)(2) | Moved from Article 5 Section 15250(b)(2) | Article 6 concerns reporting requirements. It is more logical for the information from Article 5 concerning reporting to be moved here. Moved to place reporting requirements in the same Article.
(a)(2)(A) | Moved from Article 5 Section 15250(b)(2)(i) | Article 6 concerns reporting requirements. It is more logical for the information from Article 5 concerning reporting to be moved here. Moved to place reporting requirements in the same Article.
(a)(2)(B) | Moved from Article 5 Section 15250(b)(2)(ii) | Article 6 concerns reporting requirements. It is more logical for the information from Article 5 concerning reporting to be moved here. Moved to place reporting requirements in the same Article.
(a)(3) | Added new subsection | Currently, there is no requirement to submit a quarterly trasmittal report if there was no money collected. This makes it difficult to determine whether the CUPAs are collecting surcharge money or not. Requirement added to clarify that quarterly reports are to be submitted regardless.
(a)(4) | Moved from Article 5 Section 15250(b)(3) | Article 6 concerns reporting requirements. It is more logical for the information from Article 5 concerning reporting to be moved here. Moved to place reporting requirements in the same Article.
(a)(2) | Changed to (b) | Subsection (a) is the Quarterly Transmittal Report requirements. Subsection (b) is the Annual Single Fee Report requirements. Changed for consistency and to separate reports into distinct areas.
(a)(2)(A) | Changed to (b)(1) | Changed for consistency
| Added "state" before "fiscal" | Added to clarify the state fiscal year is to be used and not a different fiscal year. (Federal Fiscal Year begins October 1, for instance). Added for clarification.
| Added "from July 1 through June 30". | Identifies the parameters of a state fiscal year. Added for clarification.
(a)(2)(A)(i) | Changed to (b)(1)(A) | Changed for consistency
(a)(2)(A)(ii) | Changed to (b)(1)(B) | Changed for consistency
(a)(2)(A)(iii) | Changed to (b)(1)(C) | Changed for consistency
| Capitalized "section" | Changed for consistency
(a)(2)(A)(iv) | Changed to (b)(1)(D) | Changed for consistency
(a)(2)(A)(iv)(I) | Changed to (b)(1)(D)(i) | Changed for consistency
| Added "minus the CERS Nextgen Component" | CUPA oversight surcharge is broken into two parts. Adding this statement, along with the adoption of (b)(1)(D)(ii) identifes this. Added for clarification.
(b)(1)(D)(ii) | Added new subsection | CUPA oversight surcharge is broken into two parts. Adding this statement, along with the adoption of (b)(1)(D)(ii) identifes this. Adopted for clarification.
(a)(2)(A)(iv)(II) | Changed to (b)(1)(D)(iii) | Changed for consistency
| Pluralized "HWG" | Changed for consistency
(a)(2)(A)(iv)(III) | Changed to (b)(1)(D)(iv) | Changed for consistency
| Added "Non-RCRA" to before "Large" | There has been confusion about whether RCRA Large Quantity Generators needed to be counted under the Large Quantity Generator total even though there is a line for RCRA Large Quantity Generators. Adding Non-RCRA clarifies that RCRA LQGs are not reported on this line.
| Added "Non-RCRA" to before "LQG" | Changed for consistency
| pluralized "LQG" | Changed for consistency
(a)(2)(A)(iv)(IV) | Changed to (b)(1)(D)(v) | Changed for consistency
| Pluralized "LQG" | Changed for consistency
(a)(2)(A)(iv)(V) | Changed to (b)(1)(D)(vi) | Changed for consistency
| Pluralized "SQG" | Changed for consistency
(a)(2)(A)(iv)(VI) | Changed to (b)(1)(D)(vii) | Changed for consistency
(a)(2)(A)(iv)(VII) | Changed to (b)(1)(D)(viii) | Changed for consistency
(a)(2)(A)(iv)(VIII) | Changed to (b)(1)(D)(ix) | Changed for consistency
(a)(2)(A)(iv)(IX) | Changed to (b)(1)(D)(x) | Changed for consistency
| Added "Regulated " before "Businesses" | Regulated business is the term defined in 27 CCR. Added for consistency.
| Uncapitalized "Businesses" | Businesses is no longer the first word of the sentence. Changed for consistency.
(a)(2)(A)(iv)(X) | Changed to (b)(1)(D)(xi) | Changed for consistency
(a)(2)(A)(iv)(XI) | Changed to (b)(1)(D)(xii) | Changed for consistency
(a)(2)(B) | Changed to (b)(2) | Changed for consistency
(a)(2)(C) | Changed to (b)(3) | Changed for consistency
| Delete "(Appendix C)" | The location of the form is found at the beginning of subection (b). Redundant.
(a)(2)(C)(i) | Changed to (b)(3)(A) | Changed for consistency
| Deleted two tables and added contents of tables to body of text. | With the requirement to make documents ADA compliant, it is easier to do so when tables are not used in the regulation. Moving the the contents of the table to the body of the text removes obstacles with ADA compliance.
(A)(2)(C)(ii) | Changed to (b)(3)(B) | Changed for consistency
(c) | Moved from (a)(5) | This is the requirement to submit the Formal Enforcement Summary. It should be its own subsection. Moved for clarification.
(c)(1) | Moved from (a)(5) | Identifies when the FES report is required to be submitted. Changed for clarification.
(c)(1)(A) | Moved from (a)(5) | Identifies how the FES is to be reported. Changed for clarification.
(a)(3) | Changed to (d) | Changed to identify a new reporting requirement. Making it a new subsection clarifies that this is a different reporting requirement.
(a)(3)(A) | Changed to (d)(1) | Changed to identify a new reporting requirement. Making it a new subsection clarifies that this is a different reporting requirement.
| Added "in accordance witha method agreed upon" between the CUPA and PA" | Simplifies the language found in (a)(3)(A)(i) to identify the PA has to report inspection, violation, and enforcemetn information to the CUPA.
(a)(3)(A)(i) | Deleted subsection | Addressed in (d)(1). Redundant.
(a)(3)(B) | Changed to (d)(2) | Changed for consistency
| Capitalized "section" | Changed for consistency
(a)(3)(C) | Changed to (d)(3) | Changed for consistency
(a)(4) | Changed to (e) | Changed to identify a new reporting requirement. Making it a new subsection clarifies that this is a different reporting requirement.
| Deleted "release detection and release prevention" and added "technical compliance rate". | Release detection and release prevention was changed to technical compliance rate. While the name changed, the requirements did not. Change made to conform with changes in 23 CCR.
| Capitalized "sections" | Changed for consistency
| Deleted "title 23" and placed "23" before" CCR" | Changed for consistency
(a)(5) | Moved to (c) | This is the requirement to submit the Formal Enforcement Summary. It should be its own subsection. Moved for clarification.
(a)(5)(A) | Moved to (c)(1) and (c)(1)(A) | Identifies how and when the FES report is required to be submitted. Changed for clarification.
(b) | Changed to (f) | Changed for consistency
| Capitalized "section" | Changed for consistency
(c) | Changed to (g) | Changed for consistency
| Capitalized "section" | Changed for consistency
(d) | Changed to (h) | Changed for consistency
(e) | Changed to (i) | Changed for consistency
| Deleted "section 25533(f)" | Section 25533(f) does not exist in the HSC. Deleted for this reason.
| Changed "sections" to "section" | Health and Safety Code section 25533(f) does not exist. Therefore, sections was changed to section as there is only one applicable section.
(f) | Changed to (j) | Changed for consistency
(g) | Changed to (k) | Changed for consistency
| Capitalized "section" | Changed for consistency
| deleted "that are" | Not necessary. Redundant.

## Article 7 §§15300-15320
Title 27 Division 1, Subdivision 4, Chapter 1, Part 1, Article 7
§15300
Subsection | Proposed Amendment | Necessity and Purpose
(a)(2) | Added a comma after Replacement, deleted "or" and added ", or removal after addition". | Notification to the Secretary would also include the removal of a PA. This change adds removal to the notification requirements.
(f) | Change "60" to "180" | 60 days is not enough time to make a thorough evaluation. Because the Secretary has 180 days to approve an initial application, and a CUPA or JPA has to provide 180 days’ notice to leave the Unified Program, 180 days is a logical number of days.
(g) | Capitalized "section" | Changed for consistency
§15320
Subsection | Proposed Amendment | Necessity and Purpose
(a)(2) | Added "pursuant to Section 15330(d)" | Added to identify where in the regulations the new PIA requirements are found. Paragraph (a) identifies the options the Secretary has for underperforming CUPAs, but the rest of the section only describes the process to issue a Notice of Intent to remove a CUPA. With the adoption of Section 15330(d), the procedures for entering into a Program Improvement Agreement (PIA) are identified.
(c) | Deleted subsection | (c) as written, is on long runon sentence that is very confusing to understand. Contents of (c) replaced by new subsections (c), (d), and (e). Redundant.
(c) | Added new subsection | Requires a city to provide 180 days notice to the County prior to withdrawing as a CUPA. Provides clarity.
(d) | Added new subsection | Requires a member of a JPA acting as a CUPA to provide 180 days notice to the Secretary, applicable county or counties, and other JPA members prior to withdrawing. Provides clarity.
(e) | Added new subsection | Requires a successor CUPA be chosen in accodance with HSC, section 25404.3(f). Provides clarity.

## Article 8 §15330
Title 27 Division 1, Subdivision 4, Chapter 1, Part 1, Article 8
§15330
Subsection | Proposed Amendment | Necessity and Purpose
(a) | Change "at least once every three years" to "periodically". | The change is required to have the regulation language match the language in statute (HSC 25404.4(a)(1)). Changed for consistency with statute.
(b)(5) | Changed "writing, with" to "a written Summary of Findings, which" | Identifies the title of the performane evaluation findings. Added for clarification
| Changed "identified" to "identifies" | Tense changed to conform with sentence. Grammar changed. Changed for grammar consistency.
| Added "and incidental findings, along with" | CUPA evaluators also determine incidental findings, which while not deficiencies, could become a deficiency if not acted upon. Incidental findings must be corrected the same as a deficiency. Clarifies that there are more than simply deficiencies that may be identified during an evaluation.
| Deleted "and specified' | Timeframes are specific periods of time, which are the same for all deficiencies and incidental findings. Deleting "and specified" removes the implication that an alternate time frame is available.
| Added "and resolutions" after "actions" | Incidental findings identified by the Unified Program evaluators require resolutions.Therefore, resolutions was added to clarify incidental findings require resolutions.
| Added "accomplishments, challenges and" | Identifies accomplishments and challenges CUPA have faced since the last evaluation. Identifies additional steps the CUPAs have taken to properly implement the Unified Program.
(b)(6) | Added "incidental finding" | CUPA are required to correct all deficiencies and incidental findings observed during the evaluation. Adding incidental findings clarifies these must also be corrected.
(b)(6)(C) | Added "incidental finding" | CUPA are required to correct all deficiencies and incidental findings observed during the evaluation. Adding incidental findings clarifies these must also be corrected.
(c) | Capitalized section | Changed for consistency.
(d) | Added new subsection | In Article 3, Application Process, there was a regulation requiring the Secretary to issue a NOI to a CUPA for not meeting the standards of the Unified Program. While this is required, it should not have been in Article 3. It is now added to Article 8 and provides details on the Secretary's options when determining whether the CUPA meets the Unified Program requirements. This include issuance of a Performance Improvement Agreement and the process for removing a CUPA who fails to meet the requirements of the PIA. Added to clarify the Secretary's responsibilities.
(d) | Changed to (e) | Changed for consistency.
| Added "conducting" | Clarifies that teh PA audit should occur at the same time as the CUPA self-audit.
| Capitalized "section" | Changed for consistency.
(e)(1)(A) | Capitalized "section" | Changed for consistency.

## Appendices
Title 27 Division 1, Subdivision 4, Chapter 1, Part 1, Appendices
Subsection | Proposed Amendment | Necessity and Purpose
Appendix A | Repeal | Outdated forms. No longer applicable.
Appendix B | Repeal | Outdated forms. No longer applicable.
Appendix C | Repeal | Outdated forms. No longer applicable.
Appendix A | Adopt | Appendices are used to report information required in Division 1, Subdivision 4, Chapter 1. Added for consistent reporting between applicants.
| CUPA Applicant Certification | CUPA Applicant Certification is the form used by agencies applying to be a CUPA to certify that the information in the application is complete and accurate. Added for consistant reporting between applicants.
| CUPA Application Cover Sheet | CUPA Application Cover Sheet is the form used to ensure all required items have been completed or obtained to ensure the CUPA application is complete and accurate. Added for consistant reporting between applicants.
Appendix B | Adopt | Appendices are used to report information required in Division 1, Subdivision 4, Chapter 1. Added for consistent reporting between applicants.
| Table 1. Enumerations/ Demographics Information | Table 1 is used to identify the number of businesses that would be under the jurisdiction of the CUPA, along with the number of businesses subject to the different Unified Program elements. Added for consistant reporting between applicants.
| Table 2. Summary of Program Activities | Table 2 is used to describe the current Unified Program activities being performed by the applicant. If the table is not used, the summary of activities is still required to be submitted with the application package. Added for consistant reporting between applicants.
| Table 3. Time Allocation of Staff | Table 3 is used to describe number of staff required to implement the program, along with a list of how long it will take to conduct the various inspections based on the program element. Added for consistant reporting between applicants.
| Table 4. Training and Expertise | Table 4 is used to document the training and expertise of the staff who will be conducting operations as the CUPA. Added for consistant reporting between applicants.
Appendix C | Adopt | Appendices are used to report information required in Division 1, Subdivision 4, Chapter 1. Added for consistent reporting between CUPAs.
| Surcharge Transmittal Report | Surcharge Transmittal Report is the document susbmitted by CUPAs to report the amount of surcharge moneys collected for the fiscal quarter. The Surgcharge Transmittal Report is required to be submitted 30 days after the end of a fiscal quarter. Added for consistant reporting between CUPAs.
| Annual Single Fee Summary Report | Annual Single Fee Summary Report is the document susbmitted by CUPAs to report the amount of surcharge moneys collected for the fiscal year. The Annual Single Fee Summary Report is required to be submitted by September 30. Added for consistant reporting between CUPAs.
Appendix D | Adopt | Appendices are used to report information required in Division 1, Subdivision 4, Chapter 1. Added for consistent reporting between regulated businesses.
| Trade Secret Disclosure Form | Trade Secret Disclosure is required when a regulated business believes any hazardous substance, hazardous material and/or process is a trade secret. Added for consistant reporting between regulated businesses.